Standard EC.02.03.01 EP1

The [organization] manages fire risks.

Elements of Performance for EC.02.03.01

The hospital minimizes the potential for harm from fire, smoke, and other products of combustion.

### Recommended Document:

A description of the process to ensuring patients & personnel are properly protected from fire, smoke and products of combustion that include a fire plan, staff education, equipment.

### Examples:

FS-EC.02.03.01EP1 Policy on Fire Safety

EC.02.03.01EP4- The hospital maintains free and unobstructed access to all exits.

Note: This requirement applies to all buildings classified as business occupancy. The “Life Safety” (LS) Chapter addresses the requirements for all other occupancy types.

### Recommended Documents:

- Policy on exits for business occupancies

Examples:

FS-EC.02.03.01EP4 Policy on Exits in Business Occupancy

EC.02.03.01EP9- The written fire response plan describes the specific roles of staff and licensed independent practitioners at and away from a fire's point of origin, including when and how to sound and report fire alarms, how to contain smoke and fire, how to use a fire extinguisher, how to assist and relocate patients, and how to evacuate to areas of refuge. Staff and licensed independent practitioners are periodically instructed on and kept informed of their duties under the plan, including cooperation with firefighting authorities. A copy of the plan is readily available with the telephone operator or security.

Note: For Additional guidance, see NFPA 101-2012: 18/19: 7.1; 7.2.

### Recommended Documents:

1.	Policy and procedure for the fire response plan.

Examples:

FS-EC.02.03.01EP9 Fire Response Plan

EC.02.03.01EP11- Periodic evaluations, as determined by the hospital, are made of potential fire hazards that could be encountered during surgical procedures. Written fire prevention and response procedures, including safety precautions related to the use of flammable germicides or antiseptics, are established.

EC.02.03.01EP12- When flammable germicides or antiseptics are used during surgeries utilizing electrosurgery, cautery, or lasers, the following are required:

- Nonflammable packaging

- Unit-dose applicators

- Preoperative "time-out" prior to the initiation of any surgical procedure to verify the following:

- Application site is dry prior to draping and use of surgical equipment

- Pooling of solution has not occurred or has been corrected

- Solution-soaked materials have been removed from the operating room prior to draping and use of surgical devices

(For full text, refer to NFPA 99-2012: 15.13)

### Recommended Documents:

1.	Policy and procedure for fire hazards during surgical procedures

Examples:

FS-EC.02.03.01EP11-12 Policy on Fire Hazards during Surgical Procedures

EC.02.03.01EP13-  The hospital meets all other Health Care Facilities Code fire protection requirements, as related to NFPA 99-2012: Chapter 15.

### Recommended Documents:

1.	Policy or procedure to demonstrate meet the requirements of NFPA 99-2012, Chapter 15.

Examples:

FS-EC.02.03.01EP13 Compliance with NFPA 99-2012 Chapter 15