Standard EC.02.05.01

The hospital manages risks associated with its utility systems.

Elements of Performance for EC.02.05.01

EC.02.05.01EP1-The hospital designs and installs utility systems according to National Fire Protection Association codes that meet patient care and operational needs.

### Recommended Documents:

- Samples of operational plans for utility systems, such as boiler operation, filter changing, etc.

- A list or index of the various operational plans you have.

### Examples:

UT-EC.02.05.01EP1 a Designing & Installing Utility Systems

EC.02.05.01 EP 2- Building systems are designed to meet the National Fire Protection Association’s Categories 1–4 requirements. (For full text, refer to NFPA 99-2012: Chapter 4 for descriptions of the four categories related to gas, vacuum, electrical, and electrical equipment.)

### Recommended Documents:

- A policy on Designing Building Systems and Risk Assessment.

### Examples:

UT-EC.02.05.01EP2 a Building Systems & Risk Assessment

UT-EC.02.05.01EP2 b Form-Attach 1-2012 NFPA 99 Category Eval Form

EC.02.05.01EP3- The hospital maintains a written inventory of all operating components of utility systems

EC.02.05.01EP4- The hospital identifies high-risk operating components of utility systems on the inventory for which there is a risk of serious harm or death to a patient or staff member should the component fail. Note: High-risk utility system components include life-support equipment

### Recommended Documents:

- A policy on the components of the utility system inventory.

Examples:

UT-EC.02.05.01EP3-4 a Policy on Utility Systems Inventory

UT-EC.02.05.01EP3-6, 8 Utility Systems Inventory Form (.xls)

EC.02.05.01EP5- The hospital identifies the activities and associated frequencies, in writing, for inspecting, testing and maintaining all operating components of utility systems on the inventory. These activities and associated frequencies are in accordance with manufacturers’ recommendations or with strategies of an alternative equipment maintenance (AEM) program.

Note 1: The strategies of an AEM program must not reduce the safety of equipment and must be based on accepted standards of practice. *

Note 2: For guidance on maintenance and testing activities for Essential Electric Systems (Type I), see NFPA 99, 2012 edition (Section 6.4.4).

*Footnote: An example of guidelines for physical plant equipment maintenance is the American Society for Healthcare Engineering (ASHE) book Maintenance Management for Health Care Facilities.

### Recommended Documents:

- Insert your policy about how inspection, testing and maintenance for those utility system elements maintained by scheduled Preventive Maintenance

- Select several examples of tests, inspections, or other maintenance based on intervals, to demonstrate how your system works.  Examples from several categories of utility system elements, showing the procedures, the test / inspection form, and several years’ history showing the reliable maintenance as scheduled are a good way to demonstrate your program.

- Provide examples of how the utility criteria were/are used to evaluate utility system components.

Examples:

UT-EC.02.05.01EP5 a Policy on Inspecting, Testing & Maintenance

UT-EC.02.05.01EP5 b Attach I-Utility System Assessment Form

UT-EC.02.05.01EP3-6, 8 Utility Systems Inventory Form (.xls)

EC.02.05.01EP6- The hospital’s activities and frequencies for inspecting, testing, and maintaining the following items must be in accordance with manufacturers’ recommendations:

• Equipment subject to federal or state law or Medicare Conditions of Participation in which inspecting, testing, and maintaining be in accordance with the manufacturers’ recommendations, or otherwise establishes more stringent maintenance requirements

• New operating components with insufficient maintenance history to support the use of alternative maintenance strategies

Note: Maintenance history includes any of the following documented evidence:

• Records provided by the hospital’s contractors

• Information made public by nationally recognized sources

• Records of the hospital’s experience over time

### Recommended Documents:

- Provide procedure for inspecting, testing and maintaining equipment identified here.

Examples:

UT-EC.02.05.01EP6 a Policy on Testing New Utility Systems

UT-EC.02.05.01EP3-6, 8 Utility Systems Inventory Form (.xls)

EC.02.05.01EP7- A qualified individual(s) uses written criteria to support the determination whether it is safe to permit operating components of utility systems to be maintained in an alternate manner that includes the following:

• How the equipment is used, including the seriousness and prevalence of harm during normal use

• Likely consequences of equipment failure or malfunction, including seriousness of and prevalence of harm

• Availability of alternative or back-up equipment in the event the equipment fails or malfunctions

• Incident history of identical or similar equipment

• Maintenance requirements of the equipment

(For more information on defining staff qualifications, refer to Standard HR.01.02.01)

### Recommended Documents:

- Provide written criteria for alternate components of utility systems when needed by qualified individual.

Examples:

UT-EC.02.05.01EP7 a Policy on Criteria for Alternate Operations of Utility Systems

EC.02.05.01EP8- The hospital identifies operating components of utility systems on its inventory that is included in an alternative equipment maintenance program.

UT-EC.02.05.01EP8 a Policy on Identifying Operating Components of Utility Systems in an AEM program

UT-EC.02.05.01EP3-6, 8 Utility Systems Inventory Form (.xls)

EC.02.05.01EP9- The hospital labels utility system controls to facilitate partial or complete emergency shutdowns. Note 1: Examples of utility system controls that should be labeled are utility source valves, utility system main switches and valves, and individual circuits in an electrical distribution panel.

Note 2: For example, the fire alarm system’s circuit is clearly labeled as Fire Alarm Circuit; the disconnect method (that is, the circuit breaker) is marked in red; and access is restricted to authorized personnel. Information regarding the dedicated branch circuit for the fire alarm panel is located in the control unit. For additional guidance, see NFPA 101-2012: 18/19.3.4.1; 9.6.1.3; NFPA 72-2010: 10.5.5.2.

### Recommended Documents:

- Policy for Identification of the Utility Systems Controls

Examples:

UT-EC.02.05.01EP9 a Policy on Labeling for Emergency Shutdown

EC.02.05.01EP10- The hospital has written procedures for responding to utility system disruptions.

EC.02.05.01EP11- The hospital's procedures address shutting off the malfunctioning system and notifying staff in affected areas.

### Recommended Documents:

- Policies or an index with a sampling of the policies attached, addressing the utility systems emergency response procedures for your locations.  If you have several locations (such as clinics, ambulatory healthcare facilities, etc.) show examples from those various locations.

- Examples of the information addressing the shut-off locations for malfunctioning utility systems and how the staff in the affected area are notified / who would be responsible for response.

Examples:

UT-EC.02.05.01EP10-11 a Policy on Utility Systems Failure & Emergency Response

UT-EC.02.05.01EP10 a EOP ERP- Electrical and Generator Failure UT-EM.02.02.09EP2

UT-EC.02.05.01EP10 b EOP ERP- Elevator Failure

UT-EC.02.05.01EP10 c EOP ERP- HVAC Failure UT-EM.02.02.09EP7

UT-EC.02.05.01EP10 d EOP ERP- Medical Gas Failure UT-EM.02.02.09EP6

UT-EC.02.05.01EP10 e EOP ERP- Natural Gas Failure UT-EM.02.02.09EP5

UT-EC.02.05.01EP13 f EOP ERP Pneumatic Tube System Failure

UT-EC.02.05.01EP10 g EOP ERP- Sewer and Water Failure UT-EM.02.02.09EP3-4

EC.02.05.01EP12- The hospital's procedures address performing emergency clinical interventions during utility systems disruptions.

### Recommended Documents:

- A grid identifying the equipment and initial staff response to that emergency

Examples:

UT-EC.02.05.01EP12 a Policy on Emergency Clinical Interventions

UT-EC.02.05.01EP12 b Initial Staff Response Grid Response

EC.02.05.01EP13- The hospital responds to utility system disruptions as described in its procedures.

### Recommended Documents:

- A policy for utility system disruptions and their procedures for each system. This can be in either one utility system failure policy or individual ones.

Examples:

UT-EC.02.05.01EP13 a Policy on Response to Utility System Disruptions

UT-EC.02.05.01EP13 b Utility System Disruptions Incident Log (.xls)

EC.02.05.01EP15- In critical care areas designed to control airborne contaminants (such as biological agents, gases, fumes, dust), the ventilation system provides appropriate pressure relationships, air exchange rates, filtration efficiencies, temperature and humidity. For new and existing health care facilities, or altered, renovated, or modernized portions of existing systems or individual components (constructed or plans approved on or after July 5, 2016), heating, cooling, and ventilation are in accordance with NFPS 99-2012, which includes 2008 ASHRAY 170, or state designed requirements if more stringent.

Note1: For hospitals that use Joint Commission accreditation for deemed status purposes: Existing facilities may elect to implement a Centers for Medicare and Medicaid Services (CMS) categorical waiver to reduce their relative humidity to 20% in operating rooms and other anesthetizing locations. Should the facility elect the waiver, it must be included in it’s Basic Building Information (BBI), and the facility’s equipment and supplies must be compatible with the humidity reduction. For further information on waiver and equivalency request, see https:www.jointcommission.org/life_safety_code_information_resources/.

Note2: For hospitals that use Joint Commission accreditation for deemed status purposes: Existing facilities may comply with the 2012 NFPA 99 ventilation requirements or the ventilation requirements in the edition of the NFPA code previously adopted by CMS at the time of installation (for example, 1999 NFPA 99).

### Recommended Documents:

- A policy addressing pressure relationships, air exchange rates, and filtration efficiencies for ventilation systems designed to control contaminants.

- Provide an inventory listing all areas needing positive pressure to the surrounding corridors, to provide ‘clean-room conditions’ such as OR, procedure rooms, sterile processing and storage, isolation rooms, etc.

- Provide a matrix indicating the maintenance performed on these systems over the past 12 months.

- Be prepared to demonstrate examples of daily checking of negative pressure isolation systems, by whoever is responsible for documenting such tests.

Examples:

UT-EC.02.05.01EP15a Policy on Installation & Appropriate Pressure Relationships in Critical Areas

Attachment I- Form- Air Pressure Relations, Temperature & Humidity in Critical Areas (UT-EC.02.05.01EP15 b)

`EC.02.05.01EP16- In non–critical care areas, the ventilation system provides required pressure relationships, temperature, and humidity.

Note: Examples of non–critical care areas are general care nursing units; clean and soiled utility rooms in acute care areas; laboratories, pharmacies, diagnostic and treatment areas, food preparation areas, and other support departments.

### Recommended Documents:

- A policy addressing pressure relationships, air exchange rates, and filtration efficiencies for ventilation systems designed to control contaminants.

- Provide an inventory listing off non-critical areas

- performed on these systems over the past 12 months.

Examples:

UT-EC.02.05.01EP16 a Air Pressure Relations, Temperature & Humidity in Non-Critical Areas

Attachment I- Form- Air Pressure Relations, Temperature & Humidity in Non-Critical Areas (UT-EC.02.05.01EP16 b)

EC.02.05.01EP17- The hospital maps the distribution of its utility systems.

### Recommended Documents:

- Insert your policy addressing how the utility systems are on maps or blueprints (‘as-builts’) and how the utility controls are identified for a partial or complete emergency shutdown.

- Provide examples of your utility emergency response plans and the location of those plans.

- Provide examples of how your utility systems are labeled.

Examples:

UT-EC.02.05.01EP17 a Policy for Mapping the Distribution of Utilities

UT-EC.02.05.01EP17 b Attachment I- Distribution Map Locations 05.01EP18- Medical gas storage rooms and transfer and manifold rooms comply with NFPA 99-2012: 9.3.7.

### Recommended Documents:

- Insert your policy addressing medical gas storage rooms

Examples:

UT-EC.02.05.01EP18 a Medical Gas Storage Rooms

EC.02.05.01EP19- The emergency power supply system’s equipment and environment are maintained per manufacturers’ recommendations, including ambient temperature of at least 40°F; ventilation supply and exhaust; and water jacket temperature (when required). (For full text, refer to NFPA 99-2012: 9.3.10)

### Recommended Documents:

- Insert your policy addressing the emergency power supply systems and what generator serves them

Examples:

UT-EC.02.05.01EP19 a Emergency Power Systems UT-EC.02.05.03EP1-7, 11-16

EC.02.05.01EP20 - Operating rooms are considered wet procedure locations, unless otherwise determined by a risk assessment authorized by the facility governing body. Operating rooms defined as wet locations are protected by either isolated power or ground-fault circuit interrupters. A written record of the risk assessment is maintained and available for inspection. (For full text, refer to NFPA 99-2012: 6.3.2.2.8.4;6.3.2.2.8.7; 6.4.4.2)

### Recommended Documents:

- Insert your policy addressing Operating Rooms

Examples:

UT-EC.02.05.01EP20 a Policy on Operating Rooms

EC.02.05.01EP21 - Electrical distribution in the hospital is based on the following categories:

Category 1: Critical care rooms served by a Type 1 essential electrical system (EES) in which electrical system failure is likely to cause major injury or death to patients, including all rooms where electric life support equipment is required.

Category 2: General care rooms served by a Type 1 or Type 2 EES in which electrical system failure is likely to cause minor injury to patients.

Category 3: Basic care rooms in which electrical system failure is not likely to cause injury to patients. Patient care rooms are required to have a Type 3 EES where the life safety branch has an alternate source of power that will be effective for 1 1/2 hours.

(For full text, refer to NFPA 99-2012: 3.3.138; 6.3.2.2.10; 6.6.2.2.2; 6.6.3.1.1)

### Recommended Documents:

- Insert your policy addressing Electrical Distribution

Examples:

UT-EC.02.05.01EP21 a Policy on Electrical Distribution

EC.02.05.01EP22 - Hospital-grade receptacles at patient bed locations and where deep sedation or general anesthesia is administered are tested after initial installation, replacement, or servicing. In pediatric locations, receptacles in patient rooms (other than nurseries), bathrooms, play rooms, and activity rooms are listed tamper-resistant or have a listed cover. Electrical receptacles or cover plates supplied from the life safety and critical branches have a distinctive color or marking. (For full text, refer to NFPA 99-2012: 6.3.2; 6.3.3; 6.3.4; 6.4.2.2.6; 6.5.2.2.4.2; 6.6.2.2.3.2)

### Recommended Documents:

- Insert your policy addressing Hospital-Grade Receptacles

Examples:

UT-EC.02.05.01EP22 a Policy on Hospital-Grade Receptacles

EC.02.05.01EP23 - Power strips in a patient care vicinity are only used for components of movable electrical equipment used for patient care that have been assembled by qualified personnel. These power strips meet UL 1363A or UL 60601-1. Power strips used outside of a patient care vicinity, but within the patient care room, meet UL 1363. In non–patient care rooms, power strips meet other UL standards. (For full text, refer to NFPA 99-2012: 10.2.3.6; 10.2.4; NFPA 70-2011: 400-8; 590.3(D); Tentative Interim Amendment (TIA) 12-5)

### Recommended Documents:

- Insert your policy addressing Relocatable Power Strips/Taps

Examples:

UT-EC.02.05.01EP23 a Policy on Relocatable Power Taps (RPTs)

EC.02.05.01EP24 - Extension cords are not used as a substitute for fixed wiring in a building. Extension cords used temporarily are removed immediately upon completion of the intended purpose. (For full text, refer to NFPA 99-2012: 10.2.3.6; 10.2.4; NFPA 70-2011: 400-8; 590.3(D); Tentative Interim Amendment (TIA) 12-5)

### Recommended Documents:

- Insert your policy addressing Extension Cords

Examples:

UT-EC.02.05.01EP24 a Policy on Extension Cords

EC.02.05.01EP25- Areas designated for administration of general anesthesia (specifically, inhaled anesthetics) using medical gases or vacuum are in accordance with NFPA 101-2012: 8.7 and NFPA 99-2012 as follows:

-Zone valves are located immediately outside each anesthetizing location for medical gas or vacuum, readily accessible in an emergency, and arranged so shutting off any one anesthetizing location will not affect others.

- Area alarm panels are installed to monitor all medical gas, medical-surgical vacuum, and piped waste anesthetic gas disposal (WAGD) systems. Alarm panels include visual and audible sensors and are in locations that provide for surveillance, including medical gas pressure decreases of 20% and vacuum decreases of 12-inch gauge HgV (mercury vacuum).

- Alarm sensors are installed either on the source side of individual room zone valve box

assemblies or on the patient/use side of each of the individual zone valve box assemblies.

(For full text, refer to NFPA 101-2012: 18/19.3.2.3; NFPA 99-2012: 5.1.4.8.7; 5.1.9.3)

EC.02.05.01EP26- Areas designated for administration of general anesthesia (specifically, inhaled anesthetics) using medical gases or vacuum are in accordance with NFPA 101-2012: 8.7 and NFPA 99-2012 as follows:

- The essential electrical system’s (EES) critical branch supplies power for task illumination, fixed equipment, select receptacles, and select power circuits. The EES equipment system supplies power to the ventilation system.

(For full text, refer to NFPA 101-2012: 18/19.3.2.3; NFPA 99-2012: 6.4.2.2.4.2)

EC.02.05.01EP 27- Areas designated for administration of general anesthesia (specifically, inhaled anesthetics) using medical gases or vacuum have the following characteristics:

-Existing smoke control systems automatically vent smoke, prevent the recirculation of smoke originating within the surgical suite, and prevent the circulation of smoke entering the system intake without interfering with exhaust function. New occupancies have no smoke control requirement.

-For hospitals that use The Joint Commission accreditation for deemed status purposes: Existing smoke control systems are maintained according to the edition of NFPA 101 adopted by the Centers for Medicare & Medicaid Services at the time of installation. (For full text, refer to NFPA 101-2012: 20/21.3.2.3; NFPA 99-2012: 9.3.1)

Please note: SMS, Inc. believes that EP27 has an incorrect code reference and it should be

NFPA 101-2012: 18/19.3.2.3; NFPA 99-2012: 9.3.1

### Recommended Documents:

- Insert your policy addressing Areas Designated for Administration of General Anesthesia

Examples:

UT-EC.02.05.01EP25-27 a Areas Designated for Admin of General Anesthesia