Standard EC.02.06.05

The hospital manages its environment during demolition, renovation, or new construction to reduce risk to those in the organization.

Elements of Performance for EC.02.06.05

EC.02.06.05EP1-When planning for new, altered, or renovated space the hospital uses one of the following design criteria:

- State rules and regulations

- Guidelines for Design and Construction of Health Care Facilities, 2018 edition, administered by the Facility Guidelines Institute and published by the American Society for Healthcare Engineering (ASHE).

When the above rules, regulations, and guidelines do not meet specific design needs, use other reputable standards and guidelines that provide equivalent design criteria.

EC.02.06.05EP2-When planning for demolition, construction, renovation, or general maintenance, the hospital conducts a preconstruction risk assessment for air quality requirements, infection control, utility requirements, noise, vibration, and other hazards that affect care, treatment, and services.

Note: See LS.01.02.01 for information on fire safety procedures to implement during construction or renovation.

EC.02.06.05EP3-The hospital takes action based on its assessment to minimize risks during demolition, construction, renovation, or general maintenance.

### Recommended Documents:

### Policy on construction activities

### Examples:

MC-EC.02.06.05EP 1 a Policy on Planning Construction Activities

MC-EC.02.06.05EP2 a Policy on Preconstruction Risk Assessment (PRA)

MC-EC.02.03.01EP2 a2 Policy on Hot Work

MC-EC.02.06.05EP2 b PRA Team (.xls)

MC-EC.02.06.05EP2 c Project List (.xls)

MC-EC.02.06.05EP2 d Comprehensive PRA Tool (.xls)

MC-EC.02.06.05EP2 e Air Quality Assessment (.xls)

MC-EC.02.06.05EP2 f Noise & Vibration Assessment (.xls)

MC-EC.02.06.05EP2 g Other Hazards Assessment (.xls)

MC-EC.02.06.05EP2 h Utility Systems Disruption Assessment (.xls)

MC-EC.02.06.05EP2 i Form-Attach I- Hot Work Inspections, Instructions and Fire Watch Log

MC-EC.02.06.05EP2 a3 Policy on Infection Control Risk Assessment for Construction

MC-EC.02.06.05EP2 b2 Infection Control Risk Assessment (.xls)

MC-EC.02.06.05EP2 c2 Infection Control Risk Monitoring Form (.xls)

MC-EC.02.06.05EP3 a Policy on Construction Monitoring

MC-EC.02.06.05EP3 b Air Quality Monitoring Form (.xls)

MC-EC.02.06.05EP3 c Noise & Vibration Monitoring Form (.xls)

MC-EC.02.06.05EP3 d Utility Systems Monitoring Form (.xls)

MC-EC.02.06.05EP3 e Other Hazards Monitoring Form (.xls)

EC.02.06.05EP4- For computed tomography (CT), positron emission tomography (PET), or nuclear medicine (NM) services: Prior to installation of new imaging equipment, replacement of existing imaging equipment, or modification to rooms where ionizing radiation will be emitted or radioactive materials will be stored (such as scan rooms or hot labs), a medical physicist or health physicist conducts a structural shielding design * assessment to specify required radiation shielding.

Note: This element of performance does not apply to dental cone beam CT radiographic imaging studies performed for diagnosis of conditions affecting the maxillofacial region or to obtain guidance for the treatment of such conditions. Footnote *: For additional guidance on shielding designs and radiation protection surveys, see National Council on Radiation Protection and Measurements Report No. 147 (NCRP-147).

EC.02.06.05EP6- For computed tomography (CT), positron emission tomography (PET), or nuclear medicine (NM) services: After installation of imaging equipment or construction in rooms where ionizing radiation will be emitted or radioactive materials will be stored, a medical physicist or health physicist conducts a radiation protection survey to verify the adequacy of installed shielding. * This survey is conducted prior to clinical use of the room.

Note: This element of performance does not apply to dental cone beam CT radiographic imaging studies performed for diagnosis of conditions affecting the maxillofacial region or to obtain guidance for the treatment of such conditions. Footnote *: For additional guidance on shielding designs and radiation protection surveys, see National Council on Radiation Protection and Measurements Report No. 147 (NCRP-147).

### Recommended Document:

### Policy on new imaging construction

### Examples:

MC-EC.02.06.05EP4-6 a Policy on New Imaging Construction