INTRODUCTION:

This event is failure of communication systems such as phone systems, computers, radios, ASCOM, and pagers, may occur at any time due to equipment failure or disaster in the community.

- MITIGATION:

- Emergency Response Plan

- Maintenance training on phone system repair and troubleshooting needs.

- ASCOM phones separate from phone system installed for patient areas.

- Cell phones carried by most managers to use if need.

- Daily backups are run on the computer system as well as redundant servers or backup disks

- Downtime procedures and paperwork have been developed for patient care documentation

- PREPAREDNESS

- Staff Training

- Primary phone systems currently are through main switchboard and through VOIP Internet phone systems.

- Problems with phones are recorded by building operations and repairs completed on timely basis.

- Radios will be distributed to be used for internal communications

- Emergency cell phones will be distributed to be used for internal communications

- Power Failure Telephones, also known as Bat phones, are red in color and located throughout the facility

- RESPONSE

- When staff discovers a failure in one of these systems, they are to contact the <<Engineering department>> or the Switchboard Operator to inform them of the loss communications.

- <<Engineering department>> will notify <<Telephone Service Company>> at <<Insert Number>> immediately.

- <<Switchboard operator>> will notify <<Paging System Service Company>> at <<Insert Number>>.

- <<Information Services>> will determine the length of the down time and inform the House Supervisor.

- <<Information Services, House Supervisor>> will advise the patient care units of the computer downtime and to implement downtime procedures. These procedures are located on the <<Identify location of procedures>>.

- Notify Supervisor of Communications Department who will determine the length of the down time and inform House Supervisor.

- Supervisor of Communications will assign personnel to man the power failure telephones.

- House Supervisor will send volunteers, security and auxiliary staff to nursing units, if an overhead announcement is unable to be announced.

- Security will stand by in lobby area with two-way or walkie-talkie radios to act as directed.

- The <<Identified areas>> will utilize the Emergency Cell Phones. The Logistics Chief will determine when these will be distributed upon phone system failure.

- The Incident Command Center will send a message through <<Identify alpha paging system>> indicating the failure and backup communication for the disaster.

- In the event of a Medical Emergency, Fire Alarm or other disaster, calls will need to be made from a power failure telephone or cellular phone to the switchboard <<number>>.

- <<Engineering Department>> will notify the Incident Commander when communication system has been restored.

D.  RECOVERY

Once the ALL CLEAR has been notified, the following should occur:

- When phone service is restored, building operations will communicate to House Supervisor that all phone services are back to normal situation.

- Building operations will let operator know phones are back and ready for normal use.

- All equipment and/or supplies used during the severe weather should be accounted for restocked or reordered depending on their status.