# POLICY

It is the policy of <<Facility Name>> to maintain compliance with NFPA 99-2012 edition Chapter 15. This chapter is applicable in all new and existing health care facilities.

# PROCEDURE

Chapter 15 of NFPA 99-2012 edition relates to “Features of Fire Protection” and often references back to The Life Safety Code NFPA 101-2012 edition as well as other applicable NFPA codes. The focus of this chapter includes:

- Construction and Compartmentation

- Special Hazard Protection for Flammable Liquids and Gases

- Laboratories

- Utilities

- Rubbish Chutes, Incinerators, and Laundry Chutes

- Fire Detection. Alarm, and Communication Systems

- Automatic Sprinklers and Other Extinguishing Equipment

- Manual Extinguishing Equipment

- Compact Storage

- Compact Mobile Storage

- Maintenance and Testing

- Fire Loss Prevention in Operating Rooms

A copy of NFPA 99-2012 is available in <<Facilities Manager’s Office, other>>.