PURPOSE

In order to assure the safety of patients, visitors, and staff, a standard response to fire, or to the potential of fire, defined plans are required.  This fire plan describes the standard responses for all staff within the <<Facility Name, i.e., Building names>> to an activation of the Fire Alarm or to conditions that indicate the presence of a fire in the area.

POLICY

In the event of a fire, the staff and licensed independent practitioners will follow the basic plan for the building in which they are located.  They will use the same plans for fire drills as they do in actual events.  Fire drills will be observed to measure the effectiveness of staff response of: when and how to sound and report fire alarms, how to contain smoke and fire, how to use a fire extinguisher, how to assist and relocate patients, and how to evacuate to areas of refuge, as well as to measure the response of building fire systems.

Staff and licensed independent practitioners are periodically instructed on and kept informed on their duties under the plan, including cooperation with firefighting authorities. A copy of the fire plan is readily available with the <<telephone operator or switchboard>>.

PROCEDURE

1.	<<ID Code or Plain Text Name>> In Your Work Area of the Hospital:

  - An alarm will sound throughout the building and where the pull station was activated or where the automatic sensors have detected smoke or heat.

  - An overhead page will follow indicating the location of the fire.

  - If you discover smoke, fire, or the alarm system is activated in your immediate area, the appropriate response will best be remembered by using the acronym R.A.C.E.:

# R- Rescue	Remove people

- Remove anyone in immediate danger to a safe area. This may be a patient, visitor, or employee.

- Do Not Use Elevators.

## A- Alarm 	Sound and Report the Alarm

- Sound- Go to the nearest pull station and activate. This notifies the Fire Department and mobilizes the <<Fire Response Team>>.

Note: Drills conducted between 9:00pm and 6:00am, the building’s fire alarm system activation will be activated but alternative methods to notify staff instead of activating audible alarms.

- Report- Call #### to notify the operator of the location of the fire. The operator wills then overhead page “ID CODE or Plain Text <<Identify>>, Building, Area, and Location” three times at <<3 minute>> intervals until ALL CLEAR.

### Note: Drills conducted between 9:00pm and 6:00am will only be announced one time until All Clear, if available.

### C-  Confine	  Secure the Area

- Close all doors and windows

- Remove all items from the corridors OR Remove all items from the corridors and place in areas marked << FOR EMERGENCY STORAGE>> or in empty patient rooms.

- The <<administrator, nursing supervisor or his/her designee>> will assess the need if oxygen supply to the affected area should be discontinued.  Only the <<administrator or his/her designee and/or Fire Marshall>> are authorized to order a supply valve closed.  A member of the <<Respiratory Care Department>> will be responsible for closing the valve after ensuring all persons dependent on oxygen delivery systems are properly treated.

NOTE: With the exception in Surgery areas only, the Anesthesia personnel will turn off the oxygen.

### E- Extinguish	Attempt to extinguish fire

- Fight the fire only if you are not placing yourself in danger.

- Personnel in the immediate department area should take an extinguisher and proceed to the fire.

All Clear	Situation is under control

The Fire Department Incident Commander at the scene verifies that the situation has been resolved.  The Incident Commander will notify the Switchboard operator and “<<ID CODE OR PLAIN TEXT>>, IS ALL CLEAR” will be paged overhead.

- General Responsibilities for Fire Alarm Activation Above, Below or Adjacent to the Code Area of the Hospital:

If your area is above, below, or adjacent to the point of origin, the following procedures are:

    - Close all doors

    - Remove items from the corridors OR Remove all items from the corridors and place in areas marked << FOR EMERGENCY STORAGE>> or in empty patient rooms.

    - Have patients return to their rooms

    - Remind patients and visitors not to use elevators

    - Listen for overhead pages for status of situation

- General Responsibilities for Fire Alarm Activation Remote to the Code Area of the Hospital:

If your area is away from the point of origin (not within your immediate area or above, below or adjacent to that area), the following procedures will need to be implemented:

    - Be ready to accept patients from the point of origin

    - Remind patients and visitors not to use elevators

    - Listen for overhead pages for status of situation

- Evacuation

  - Evacuation will not take place until directed by the Incident Commander and/or Fire Department. At any time, when several patients are in immediate danger, moving them to a safer area can be done without these approvals. <<Administrator/administrator-on-call, nursing supervisor, and/or safety officer>> evaluates the situation and determines the need to activate the Emergency Operations Plan.

  - Do Not Use Elevators

  - There are several ways to assist and relocate patients and types of evacuations, the following are the stages of evacuation:

    - Stage I-Horizontal-move them into an adjacent smoke compartment.

    - Stage II- Vertical- move one floor down taking the exit stairs.

    - Stage III- Building- all patients and visitors will be moved from the building to alternate care sites. These sites are:

      - <<Facility Name>> (Primary)

      - <<Facility Name>> (Secondary)

  - Incident Commander in conjunction with <<Local Fire/Police>> will determine the need for evacuation beyond horizontal evacuation to an adjacent smoke compartment.

For more information on evacuation, see Emergency Operations Plan- Appendix 1: Evacuation Plan.

- Fire Response Team

The fire response team is made up of <<Facility Department, Security, Respiratory Care and the Nursing Supervisor>>.  They are responsible for responding to the area when a <<Fire Alert>> is initiated. The Nursing Supervisor or designee will direct the fire response team once they arrive on the scene.

- <<ID Code or Plain Text>> In Business Occupancies:

Freestanding or Attached Buildings other than the Hospital:

  - An alarm will sound on all floors where the pull station was activated or where automatic sensors have detected smoke or heat.

  - An overhead page will indicate the location of the fire.

  - If you discover smoke, fire, or the alarm system is activated in your immediate area, the appropriate response will best be remembered by using the acronym R.A.C.E.:

# R – Rescue 	Remove people

- Remove anyone in immediate danger to a safe area.

- This may be a patient, visitor, or employee.

- Do Not Use Elevators.

A – Alert 		Sound and Report the Alarm

- Sound- Go to the nearest pull station and activate. This activates the Fire Department.

- Report- Call #### to notify the switchboard operator of the location of the fire. The operator will overhead page “<<ID Code or Plain Text >>, Building, Area, and Location” three times every <<3 minute>> intervals until ALL CLEAR and/or

- Report- Call 911 to notify them of the location of the fire. Then overhead in your building, “Please evacuate the building at the nearest exit and meet in the (designated area)”.

### C – Confine 		Secure the Area

- Close the door to the area where the fire or smoke is located.

- Leave all other doors unlocked and open, if possible.

- The designated floor captains will check the floor assuring that all personnel are evacuated.

### E – Extinguish 	Attempt to extinguish fire

Fight the fire only if you are not placing yourself in danger.

#### AND

### E – Evacuate  	Evacuation

- Everyone must evacuate from these buildings immediately.

- Meet in the designated area

- Do Not Use Elevators, if applicable.

All Clear		Situation is under control

The Fire Department at the scene verifies that the situation has been resolved and whether staff may return to the building.

- FIRE EXTINGUISHERS

  - Location of Fire Extinguishers:

All employees should be oriented to the location of the fire extinguishers in their respective work area/department.  Storage or equipment should never block fire extinguishers.  The <<Facility Department>> visually inspects extinguishers every month.

  - Use of Fire Extinguishers:

Select the proper fire extinguisher for the fire.  Position yourself as close to the fire as safely possible.  Remember to leave a way out.

Use the P.A.S.S. method to extinguish the fire:

Pull		the pin on the extinguisher.

Aim		the extinguisher nozzle at the base of the flames.

Squeeze	the handle to discharge the extinguisher.  Squeeze the handle as the contents are under pressure.

Sweep	from side to side at the base of the fire.  Remember that the extinguisher will empty quickly.  Do not waste the extinguishing agent.

DO NOT ATTEMPT TO EXTINGUISH THE FIRE IF IT IS TOO LARGE OR DANGEROUS.  CLOSE THE DOOR, LEAVE THE AREA AND AWAIT ARRIVAL OF THE FIRE DEPARTMENT.

- Fire Drills Will:

- Be conducted a minimum of once per quarter per shift for hospitals.

- All drills will be unannounced for hospitals. Fire drills are held at unexpected times and under varying conditions.

- Be conducted every 12 months for freestanding buildings classified as business occupancies.

- Be evaluated for performance of fire safety equipment and staff.

- Be reviewed by the Environment of Care (EOC) Committee on a regular basis.

- Simulate real-life possibilities.

- Be scheduled at unexpected times and under varying conditions.

- Be conducted by the <<Facilities Department and/or Safety Officer>>.

- Be observed from varied locations.

Evaluation of Staff Knowledge will include:

- Compartmentalization and containment.

- Areas of Refuge.

- Fire extinguishment.

- Fire response duties.

- Vertical and horizontal evacuation.

Staff response will be observed at the drill location and:

- Adjacent compartment(s).

- The compartment above and below the drill location.