# POLICY

<<Facility Name>> will make every effort to minimize disruption and not jeopardize patient care related to the construction process.

# PURPOSE

During the planning process for new, altered, or renovated space, the appropriate design criteria will be consulted to provide guidelines for the construction of patient care and other support areas.  If necessary, additional resources will be utilized to ensure a safe design and functionality.

PROCEDURE

When planning construction in or around computed tomography (CT), positron emission tomography (PET), or nuclear medicine (NM) services areas, prior to and after installation of new imaging equipment, replacement of existing imaging equipment, or modification to rooms where ionizing radiation will be emitted or radioactive materials will be stored (such as scan rooms or hot labs), a medical physicist or health physicist conducts a structural shielding design* assessment to specify required radiation shielding.

Note: This does not apply to dental cone beam CT radiographic imaging studies performed for diagnosis of conditions affecting the maxillofacial region or to obtain guidance for the treatment of such conditions.

<<Facility Name>> uses one of the following *design criteria and radiation shielding protection:

- State rules & regulations

- Shielding design by the National Council on Radiation Protection and Measurements Report No. 147 (NCRP-147).

- Guidelines for Design and Construction of Health Care Facilities, 2014 edition, administered by the Facility Guidelines Institute and published by the American Society for Healthcare Engineering (ASHE)

- Other reputable standards and guidelines that provide the equivalent design criteria.