#### POLICY

<<Facility Name>> maintains a written inventory of all medical equipment and identifies high-risk medical equipment on the inventory for which there is a risk of serious injury or death to a patient or staff member should the equipment fail. High-risk medical equipment includes life-support equipment.

INVENTORY

The inventory includes equipment maintained by the <<Biomedical Engineering Department>> and the <<Engineering Department>> as well as by vendors.  Medical equipment in clinics of <<Facility Name>> will be included in the inventory as well.

The clinical manager and <<Biomedical Engineering Director>> will evaluate orientation and training requirements at the time the equipment is purchased.  Detailed orientation for operators and <<Biomedical Engineering Staff>> will be provided as necessary.

PROCEDURE

#### The <<Identify Department (e.g. Biomedical Engineering Department)>> maintains a written inventory of all medical equipment.

- High-risk medical equipment is identified on the inventory for which there is a risk of serious injury or death to a patient or staff member should the equipment fail. High-risk medical equipment includes life-support equipment.

#### The <<Identify Department(s) (e.g. Biomedical Engineering Department)>> identifies medical equipment on its inventory that is included in an alternative maintenance program (AEM).

#### All new and existing equipment is assigned a permanent equipment identification control number.  This identification number will remain with the equipment for the duration of the equipment use in the facilities. This number will be retired and removed from the Maintenance Management System (MMS) when the equipment has been replaced.  Equipment rented or borrowed will be assigned a temporary unique identifier, which is used while that equipment is used by the organization.

#### The identification number will also be the preventive maintenance file number for the hard copy records.  All new and existing equipment are assigned relevant preventive maintenance task code or codes.

- Leased equipment will be evaluated utilizing the medical equipment inventory system and included into the medical equipment management inventory program as appropriate.

- If the lease includes preventive maintenance and service, the leasing department will inform the clinical engineering director when any maintenance has been performed or the equipment is returned. The leasing department will be responsible for administering the manufacturer or leasing agent’s maintenance documentation on site through the term of the lease.

- Medical equipment will randomly be evaluated during periodic Environmental Tours and adverse findings (e. g., outdated stickers, broken equipment, missing stickers) will be reported to biomedical engineering and the <<Environment of Care® (EOC) Committee>>.