## Assessment Form
<<Facility Name>>
<<City, State>>
Medical Equipment Assessment Form
System Description: |  | Inspection Date:
Model Number: |  | Serial Number:
Control Number: |  | Manufacturer's Name:
Equipment Function (EF) Table 1 | Risk Value |  | Incident History (IH) Table 4 | Risk Value
Therapeutic - High Risk (Life Support) | 10 |  | Poor | 5
Therapeutic - Surgical or Intensive Care | 9 |  | Moderate | 4
Therapeutic - Physical Therapy or Treatment | 8 |  | Adequate | 3
Diagnostic - Surgical or ICU Monitoring | 7 |  | Good | 2
Diagnostic - Other Physiological Monitoring | 6 |  | Excellent | 1
Analytical - Laboratory | 5 |  | Incident History Score | 5
Analytical - Laboratory Accessories | 4
Analytical - Computer and Related Equipment | 3 |  | Risk Summary Table 5 | Risk Value
Miscellaneous - Patient Related | 2 |  | Equipment Function Score | 4
Miscellaneous - Non-Patient Related | 1 |  | Physical Risk Score | 5
Utility Function Score | 4 |  | Maintenance Requirements Score | 4
|  |  | Incident History Score | 5
Physical Risk (P) Table 2 | Risk Value |  | Total Score (Risk Factor) | 18
Potential Patient Death | 5 |  | Risk Factor or Maintenance Value = EF+P+M+IH
Potential Patient Injury | 4
Inappropriate Therapy or Misdiagnosis | 3 |  | Instructions: For each category, select the appropriate value that equates to the type of equipment by selecting the drop down box in scoring section of the table.
Equipment Damage | 2
No Significant Identified Risks | 1
Physical Risk Score | 5
Maintenance Requirements (M) Table 3 | Risk Value
Extensive | 5 |  |  |  | Yes
Above Average | 4 |  |  |  | No
Average | 3
Below Average | 2
Minimal | 1
Maintenance Requirements Score | 4
Assessed by: |  |  | Date:
Definitions:
Therapeutic - High Risk (Life Support) | THERAPEUTIC DEVICE: Any active medical device, whether used alone or in combination with other medical devices, to support, modify, replace or restore biological functions or structures with a view to treatment or alleviation of an illness, injury or handicap. Such as heart bypass machine, AED, Defibrillator
Therapeutic - Surgical or Intensive Care
Therapeutic - Physical Therapy or Treatment
Diagnostic - Surgical or ICU Monitoring | DEVICE INTENDED FOR DIAGNOSIS: Any active medical device, whether used alone or in combination with other medical devices, to supply information for detecting, diagnosing, monitoring or to support in treating physiological conditions, states of health, illnesses or congenital deformities.
Diagnostic - Other Physiological Monitoring
Analytical - Laboratory | Analytical Devices: Any device used to determine a condition of a patient through a sample such as blood gas machine.
Analytical - Laboratory Accessories
Analytical - Computer and Related Equipment