POLICY

<<Facility Name>> uses criteria for the safe operating of medical equipment that will maintain in an alternate method.

PROCEDURES

- The <<Biomedical Engineering Director>> is a qualified individual(s) that uses written criteria to

support the determination whether it is safe to permit medical equipment to be maintained in an alternate manner that includes the following:

  - How the equipment is used, including the seriousness and prevalence of harm during normal use

  - Likely consequences of equipment failure or malfunction, including seriousness of and prevalence of harm

  - Availability of alternative or back-up equipment in the event the equipment fails or malfunctions

  - Incident history of identical or similar equipment

  - Maintenance requirements of the equipment

- Documentation of the written criteria for these devices will be maintained by the <<Biomedical

Engineering Director>> and included in the Maintenance Management System (MMS).