EMERGENCY RESPONSE-CLINICAL INTERVENTIONS FOR PATIENT-CARE EQUIPMENT FAILURES IN <<ANESTHESIA>>

EQUIPMENT REPLACEMENT EQUIPMENT/SUPPLIES IN THE EVENT OF FAILURE, CALL: INTERIM MEASURES Anesthesia Agent Vaporizer Call Anesthesia Technician Technology Support Services <<ext xxxx>> Sedate patient by other means (use another agent) Back-up anesthesia machine Anesthesia Machine Call Anesthesia Technician Technology Support Services <<ext xxxx>> Manually ventilate patient Obtain back-up from empty O.R. room Blood Fluid Warmer-Level I Anesthesia Supply Room <<Room #>> Technology Support Services <<ext xxxx>> Obtain spare unit Cardiac Output/SVO2 Monitor Anesthesia Supply Room <<Room #>> Technology Support Services <<ext xxxx>> Obtain spare unit Hypo/Hyperthermia Unit Call Anesthesia Technician Replacement in O.R. Technology Support Services <<ext xxxx>> Obtain spare unit Oxygen Monitor Call Anesthesia Technician. Anesthesia Supply Room <<room #>> Technology Support Services <<ext xxxx>> Obtain spare unit Pacemaker, Esophageal Call Anesthesia Technician. O.R. Technology Support Services <<ext xxxx>> Use HP defibrillator/pacer Patient Monitor & Modules Monitor - from another O.R. room or Technology Support Services Modules - <<Room #>> Technology Support Services <<ext xxxx>> Obtain spare unit Portable Patient Monitor Call Anesthesia Technician. Anesthesia <<Room #>> Technology Support Services <<ext xxxx>> Obtain spare unit Rapid Blood/Fluid Warmer (Level I) Call Anesthesia Technician Technology Support Services <<ext xxxx>> Use spare Level I from Emergency Department Syringe Infusion Pump Anesthesia Supply, <<Room #>> Technology Support Services <<ext xxxx>> Obtain spare unit

Top of Form

Bottom of Form