POLICY

It is the policy of <<Facility Name>> to assure that hyperbaric facilities comply with construction, equipment, administration, and maintenance requirements of NFPA 99: Chapter 14.

PROCEDURE

- Class A chambers located inside a building, the chamber(s) and all ancillary equipment shall be protected by a 2-hour fire-resistant construction. (remove if your chambers are not class A)

- Construction and facility equipment is the responsibility of the <<Facilities Department>>.

- <<Clinical Engineering>> is responsible for clinical hyperbaric equipment.

- <<Hyperbaric Services, Medical Staff>> is responsible for clinical aspects of hyperbaric facilities. They are also responsible for licensing/accreditation.

- <<Medical Staff>> shall adopt and enforce regulations with respect to the use of hyperbaric facilities. The <<Safety Director, Safety Officer>> shall participate in the development of these regulations

- The <<Safety Director, Safety Officer>> shall make recommendations for departmental safety policies and procedures.

- The <<Safety Director, Safety Officer>> has the authority to restrict or remove any potentially hazardous supply or equipment from the chamber.

- The governing board shall be responsible for the care and safety of patients and personnel.

- The <<Safety Director, Safety Officer>> shall ensure that electrical, monitoring, life-support, protection, and ventilation arrangements in the hyperbaric chamber are inspected and tested as part of routine maintenance program.

- The hyperbaric chamber(s) are part of the preventive maintenance program.

- A copy of NFPA 99-2012 is available in << Facilities Manager, Clinical Engineering, Online>>.

Reference

NFPA 99-2012, Chapter 14