POLICY

It is the policy of <<Facility Name>> to inspect, test, and calibrate nuclear medicine equipment annually.

PROCEDURE

- All nuclear medicine equipment used for diagnostic procedures will be tested, inspected and calibrated.

- The nuclear medicine equipment inspected, tested and calibrated will be entered into the medical equipment inventory of the organization.

- Qualified hospital staff, or a qualified vendor under the supervision of the hospital staff will conduct the inspection testing and calibration. The results and completion dates are documented.

- The inspection, testing and calibration will be conducted at least every 12 months.

- The appropriate procedures for conducting inspecting, testing, and calibration will be used including:

  - Manufacturer’s recommendations

  - Regulatory requirement

  - Other evidence for testing and calibration (i.e., ECRI).

- Documentation of qualified staff, testing, inspection, and calibration will be reviewed by the <<Director of Nuclear Medicine, Radiation Safety Officer, Radiation Physicist >> and maintained by the <<Nuclear Medicine Department>>.