POLICY

<<Facility Name>> will inspect, test, and maintain all medical equipment, sterilizers and dialysis equipment and water in accordance to strategies approved by the organization.

Testing of High-Risk Equipment –

The <<Clinical Engineering Director>> assures that scheduled testing of all high-risk (life-support) equipment is performed in a timely manner.  Reports of the completion rate of scheduled inspection and maintenance are documented (Attachment I) and presented to the <<EOC Committee>> each quarter.

Medical equipment with activities and associated frequencies in accordance with manufacturers’ recommendations must have a 100% completion rate. Scheduled maintenance activities for high-risk medical equipment in an alternative equipment maintenance (AEM) program inventory must have a 100% completion rate. These inspection, testing, and maintenance documents are maintained in the <<Clinical Engineering Director>> for review.

Testing of Non-High-Risk Medical Equipment

The <<Clinical Engineering Director>> assures that scheduled testing of all non-high-risk equipment is performed in a timely manner.  Reports of the completion rate of scheduled inspection and maintenance are documented (Attachment II) and presented to the <<EOC Committee>> each quarter.

Scheduled maintenance activities for non-high-risk medical equipment in an alternative equipment maintenance (AEM) program inventory may be deferred as defined by organization policy, provided the completion rate is not less than 100%. These inspection, testing, and maintenance documents are maintained in the <<Clinical Engineering Director>> for review.

Testing of Sterilizers

The <<Identify Department>> is responsible for testing and maintaining of all types of sterilizers used in <<Facility Name>>.  Records of load testing and regular maintenance are maintained by <<Identify Department >>.  Any improper results are documented as patient safety incidents and reported to the <<Identify (e. g., Infection Control, Risk Manager)>> for evaluation and action.  Documentation of the testing and maintenance activities (Attachment III) are maintaining in the <<Identify Department>> for review.

Testing of Dialysis Equipment

The <<Identify Department>> is responsible for performing equipment maintenance and chemical and biological testing of water used in hemodialysis at <<Facility Name>>.  The program of maintenance includes, regular cleaning and disinfection of all dialysis equipment, and testing for compliance with biological and chemical standards for the dialysis water supply.  Documentation of the testing and maintenance (Attachment IV) activities are maintaining in the <<Identify Department>> for review.

ATTACHMENTS:

Attachment I- High-Risk Form (ME-EC.02.04.03EP2 b)

Attachment II- Non-High-Risk Support Form (ME-EC.02.04.03EP3 b)

Attachment III- Sterilization Report (ME-EC.02.04.03EP4 b)

Attachment IV- Dialysis Bacteria Testing Form (ME-EC.02.04.03EP5 b)