POLICY

<<Facility Name>> wants to ensure the safest possible daily operation and functions of the facility with the nuclear medicine (NM) services so as to avoid death, injury, or illness.  This policy will guide the testing criteria needed to ensure safe operations of the NM imaging equipment.

PURPOSE

To perform annual performance evaluation on NM imaging equipment.

PROCEDURE

- At least annually, a diagnostic medical physicist conducts a performance evaluation and is documented on Attachment I.

- The evaluation results, along with recommendations for correcting any problems identified, are documented in the Maintenance Management System (MMS).

- The evaluations are conducted for all of the image types produced clinically by each NM scanner (for example, planar and/or tomographic) and include the use of phantoms to assess the following imaging metrics:

  - Image uniformity/system uniformity

  - High-contrast resolution/system spatial resolution

  - Sensitivity

  - Energy resolution

  - Count-rate performance

  - Artifact evaluation

- The performance evaluation is completed by <<DATE>> each year. The information is given to the <<Director of Radiology or Medical Director>> immediately if problems are identified. If information is meeting the criteria determined to be safe, the report will be given within <<24 hours>>.

- The <<Director of Radiology or Medical Director>> will present this report’s information and status to the <<Environment of Care Committee, Radiology Committee and/or Safety Committee>> at the next meeting after the report.

Attachments

Attachment I- NM Services Performance Evaluation (ME-EC.02.04.03EP 23 b)