POLICY

<<For hospitals that provide fluoroscopic services>>

<<Facility Name>> wants to ensure the safest possible daily operation and functions of the facility fluoroscopic services so as to avoid death, injury, or illness.  This policy will guide the testing criteria needed to ensure safe operations of fluoroscopic services.

PURPOSE

To perform annual performance evaluation on fluoroscopic imaging equipment.

PROCEDURE

- At least annually, a diagnostic medical physicist conducts a performance evaluation and is documented on Attachment I. This policy does not apply to fluoroscopy equipment used for therapeutic radiation treatment planning or delivery.

- The evaluation results, along with recommendations for correcting any problems identified, are documented in the Maintenance Management System (MMS).

- The evaluation(s) include an assessment of the following:

  - Beam alignment and collimation

  - Tube potential/kilovolt peak (kV/kVp) accuracy

  - Beam filtration (half-value layer)

  - High-contrast resolution

  - Low-contrast detectability

  - Maximum exposure rate in fluoroscopic mode

  - Displayed air-kerma rate and cumulative-air kerma accuracy (when applicable)

- The performance evaluation is completed by <<DATE>> each year. The information is given to the <<Director of Radiology or Medical Director>> immediately if problems are identified. If information is meeting the criteria determined to be safe, the report will be given within <<24 hours>>.

- The <<Director of Radiology or Medical Director>> will present this report’s information and status to the <<Environment of Care Committee, Radiology Committee and/or Safety Committee>> at the next meeting after the report.

Attachments

Attachment I- Fluoroscopic Services Performance Evaluation (ME-EC.02.04.03EP 34 b)