## Instructions
Instructions for Hazard Vulnerability Analysis (HVA)
Step # 1 | Consider events (definitions below) that could impact the hospital's ability to provide services, based on information from the community, past history, or future expectation, 15-17 events. Enter in Columns A.
Step # 2 | Evaluate the impact of the event (Columns B-J) for the impact factors using the criteria (0-5) at the bottom of Table 1. The Internal and External Factors section below will help in answering questions about the impact and ability to the hazard. The scores will add automatically in Column K.
Step # 3 | Evaluate the Likelihood of the event occurring and having an impact on the hospital using criteria (1-3) at bottom of Table 1 . Enter the value in Column L.
Step # 4 | The Impact Score in Column K minus the value of likelihood in Column L will total the event's score in Column M.
Step # 5 | Data will be automatically transferred to Table 2, Priority. Sort Columns A and B together to get the priority order of the events descending. Your top priority should be the event that you need to focus in your exercises/drills in order to change the potential impact in the internal and external factors.
Step # 6 | Data will be automatically transferred to Table 3, Priority Chart. This automatically take the data from Table 2 and update the chart in priority.
Helpful suggestions for conducting the HVA, Table 1
Table 1 provides the assessment of events that could affect the ability of the hospital to provide services and the consequences of the events on the normal operation of the hospital. Use Scoring Criteria at bottom of Table 1.
Impact on the Ability and the Consequences to Provide or Receive Services (Columns B-J)
Internal Factors
Factors | Potential Impacts
Patient Care Services | What impact will this event have on patient care services? And are they prepared and trained to provide appropriate services during a particular event? Can they adequately identify the cause of symptoms or warning signs?
Support Services | Do support services have resources on hand to handle the impact of the event? Will there be a staff shortage caused by this event? How well prepared and trained are these areas?
Staffing | Will there be a staff shortage for providing patient care caused by this event? Will the level of care be affected by the event and are there enough resources available to maintain the staff.
Structure | Will the event impact on the structure of the facility? Are repair options available?
Utility Services | Will the event impact on the existing utility services and are alternatives available to handle the situation?
External Factors
Factors | Potential Impacts
Public Services | Will the event impact on the ability of external resources, including EMS, Fire, Police, Public Health, etc. into the needs of the hospital? How well can these services respond or communicate with the facility?
Community | Will the event impact the community partners such as other health care organizations, the public health department, vendors, community organizations, public safety and pbulic works officials, and other government agencies ability to assist with your organization? Or compete for the same resources and assets?
Business Resources | Will the event impact on the delivery of goods and services to the hospital from outside purveyors before, during and after the event?
Staff and Patient Family Members | Will the event impact on the ability of the hospital to communicate, facilitate, and/or provide for staff, their families and patient's families before, during and after the event?
Impact Scoring
Automatically Adds the Scores from Columns B-J to calculate the impact of the event.
The Likelihood that such an event will have an effect on the hospital (Column L)
Considerations | Based on "known" risk or "historical" data within the facility and community
If the likelihood of an event is to never impact the hospital, for example a volcano in your area, then remove the event from the HVA.
EVENTS | DEFINITIONS OF EVENTS
Active Shooter | A new failure that would include an individual who has brandished a weapon (gun) in the attempt to actively or attempted intent to kill with a weapon.
Communications Failure | This failure would include telephones, information technology systems, paging system, cellular phones, computers, radios and software failures.
Contagious Patient | This event would include a contagious patient that presents with a known or suspected infectious condition and communicable disease such as Ebola, SARS, Pandemic flu, and Avian flu.
Contaminated Patient | This event would include any and all contaminations such as chemical and radioactive through accidents, terrorism, manufacturer or vehicle.
Electrical Failure | This failure would include the electrical service provided by the local, county or state providers.
Generator Failure | This failure would include loss of backup emergency generators during a power outage or generators loss due to operating systems.
Hurricane | This event would include a direct hit from near coastal waters. Any pre- or post- effects of a hurricane would include tornadoes, high winds and potential flooding. If hospital is not near coastal water remove from HVA.
HVAC Failure | A new failure that would include a utility failure of the Heating (Boiler) or Air Conditioning (Chiller) loss due to utility or failure of operating systems.
Med Gas Failure | This failure would include loss of medical gases such as oxygen, nitrous oxide or vacuum.
Natural Gas Failure | This failure would include loss of local, county or state providers. A failure of systems on natural gas such as boilers, kitchen or sterilization equipment.
Nuclear Incident | This event would include explosive blast, direct nuclear radiation, thermal radiation, and fallout from plants within 250 miles or from terrorism with a 1 megaton bomb. If hospital is not located with miles from nuclear plant or potential from 1 megaton bomb due to local HVA, remove from this HVA.
Patient Surge | This event would include any and all influx of patients from incidents other than contagious diseases or contaminations such as motor vehicle accidents, explosions, air traffic incidents, etc.
Severe Storms/Wind | This event would include large hail, at least 3/4 inches (0.75 inches) in diameter, damaging winds, at least 58 mph, or 50 knots, flash flooding, thunderstorms, and/or tornadoes.
Sewer Failure | This failure would include utility failures such as sewer or back up sewer affecting patient care or isolating an area.
Structural Damage | This event would include infrastructure damage to buildings and services through incidents such as fracking (oilfield operations) or vehicle, terrorism, explosion such as natural gas, bomb or natural causes such as tornados or earthquakes.
Water Failure | This event would include a direct loss of water (domestic) from local providers or an event of too much water such as flooding from costal, levees, dams or area water ways or break in water lines causing internal flooding.
Winter/Ice Storms | This event would include freezing or frozen precipitation (freezing rain, sleet, snow) or combined effects of winter precipitation and strong winds.
Events not included: | These events are not included as they are current requirements by other Environment of Care response standards such as Fire (EC.02.03.01), Missing Person (EC.02.01.01), Medical Emergencies (CPR, Rapid Response), and Patient Assists. Bomb Threat is a phone call by potential prank and is usually a security response. (EC.02.01.01EP9-10)

## HVA Table 1
<<Facility Name>>
<<City, State>>
Hazard Vulnerability Analysis (HVA)
Date Approved:
EVENT | Impact on the Ability and the Consequences to Provide or Receive Services | [9 empty] | Likelihood of Occurrence | Total
| Internal Factors |  |  |  |  | External Factors |  |  |  | Impact Scoring |  | Impact Minus Likelihood
| Patient Care Services | Support Services | Staffing | Structure | Utility Services | Public Services | Community | Business Resources | Staff Family | (Automatically Added the Scores)
Active Shooter | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 2 | 15 | 1 | 14
Communications Failure | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 18 | 1 | 17
Contagious Patient | 3 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 15 | 2 | 13
Contaminated Patient | 2 | 2 | 3 | 2 | 1 | 1 | 1 | 1 | 2 | 15 | 1 | 14
Electrical Failure | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 11 | 2 | 9
Generator Failure | 3 | 3 | 1 | 3 | 3 | 1 | 1 | 1 | 1 | 17 | 1 | 16
HVAC Failure | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 11 | 1 | 10
Hurricane | 1 | 1 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 11 | 2 | 9
Med Gas Failure | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 14 | 1 | 13
Natural Gas Failure | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 14 | 1 | 13
Nuclear Incident | 3 | 3 | 3 | 1 | 1 | 2 | 1 | 2 | 2 | 18 | 1 | 17
Patient Surge | 2 | 2 | 3 | 2 | 2 | 1 | 1 | 3 | 1 | 17 | 2 | 15
Severe Storms/Wind | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 3 | 6
Sewer Failure | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 10 | 1 | 9
Structural Damage | 3 | 3 | 3 | 3 | 3 | 3 | 1 | 3 | 3 | 25 | 2 | 23
Water Failure | 3 | 4 | 2 | 5 | 5 | 2 | 1 | 2 | 3 | 27 | 2 | 25
Winter/Ice Storms | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 3 | 6
Scoring Criteria
Impact of Event | [7 empty] | Likelihood of Occurrence
1= 100% prepared or insignificant impact | [7 empty] | 1= Minimal or slight probability with no history
2= 75% prepared or minor impact | [7 empty] | 2= Moderate probability with some history
3= 50% prepared or moderate impact | [7 empty] | 3= High probability with occurrence in last 10 years
4= 25% prepared or serious impact
5= 0% prepared or very serious impact

## Proirity- Table 2
<<Facility Name>>
<<City, State>>
Hazard Vulnerability Analysis (HVA)
EVENT | Scoring Total (Column L-Table 1) | Priority
Water Failure | 25 | 1
Structural Damage | 23 | 2
Patient Surge | 15 | 3
Contagious Patient | 13 | 4
Severe Storms/Wind | 6 | 5
Winter/Ice Storms | 6 | 6
Electrical Failure | 9 | 7
Hurricane | 9 | 8
Nuclear Incident | 17 | 9
Communications Failure | 17 | 10
Generator Failure | 16 | 11
Active Shooter | 14 | 12
Contaminated Patient | 14 | 13
Med Gas Failure | 13 | 14
Natural Gas Failure | 13 | 15
HVAC Failure | 10 | 16
Sewer Failure | 9 | 17

## Priority Chart
Hazard Vulnerability Analysis (HVA)