POLICY

It is the policy of <<Facility Name>> to document the compliance of the facility with the National Fire Protection Association’s NFPA® 101®, Life Safety Code®.

PROCEDURES

# Each building in which patients are housed or receive treatment will be designed and maintained to comply with the Life Safety Code, NFPA 101, 2012 edition.  Where appropriate, the Guidelines for Design and Construction of Health Care Facilities, 2014 edition will be used as design criteria or guidelines.

- Copies of any equivalencies that have been submitted to or approved by the Centers for Medicare & Medicaid (CMS) and The Joint Commission (TJC) will be maintained.

- Life safety drawings will need to be kept current and will include the following information:

  - Areas of the building that re fully sprinklered (if the building is partially sprinklered)

  - Locations of all hazardous storage areas

  - Locations of all fire-rated barriers

  - Locations of all smoke rated barriers

  - Sleeping and non-sleeping suite boundaries, including size of the identified suite

  - Locations of smoke compartment

  - Locations of chutes and shafts

  - Anny approved equivalencies or waivers

  - A legend that clearly identifies features of fire safety

- Copies of Life Safety drawings are kept in <<office name>>.