POLICY

It is the policy of <<Facility Name>> to assure that a current Basic Building Information (BBI) is maintained with in Statement of Conditions (SOC).

PROCEDURES

- At least <<annually, semiannually, quarterly>>, and as building/site information changes, relative to this policy the <<Director of Facilities, assigned individual>>, will log into Joint Commission Connect on the Joint Commissions ’website www.jointcommission.org and review the “Statement of Conditions” (SOC) information pertinent to “Basic Building Information” (BBI).

- As part of the review process all sites and buildings currently listed on the BBI will be checked for accuracy as it relates to accurate square footage, occupancy and percentage of sprinklered areas.

- New buildings and/or sites will be added if needed and essential required information will be included.

- If a determination is made that a building/site is no longer a part of the facility (check e-App) then it will be removed from the BBI.

- If technical assistance/further guidance is needed for the Statement of Conditions, The Joint Commission Department of Engineering can be contacted by completing the standard’s online question form.