POLICY

<<Facility Name>> provides and maintains special features to protect individuals from the hazards of fire and smoke.

PROCEDURE

1.	High-rise buildings have are provided with an approved automatic sprinkler system that meets the requirements of NFPA 101-2012: 18/19.4.2 (For full text, refer to NFPA 101-2012: 11.8)

Note:  Organizations that do not have approved automatic systems in high-rise buildings (over 75 feet tall) as of July 5, 2016, have 12 years to install them.

2.	The hospital meets all other Life Safety Code automatic extinguishing requirements related to NFPA 101-2012: 18/19.4.2