POLICY

<<Facility Name>> provides and maintains special features to protect individuals from the hazards of fire and smoke.

PROCEDURE

1.	Windowless buildings or portions of windowless buildings meet the requirements of NFPA 101-2012: 20/21.4; 11.7.

2.	Existing high-rise buildings have approved automatic sprinkler systems that meet the requirements of NFPA 101-2012: 20/21.4; 11.8; 9.7.1.1 (1), or they have an engineered life safety system complying with NFPA 101-2012: 39.4.2.1 (2). New high-rise buildings comply with NFPA 101-2012: 11.8. (For full text refer to NFPA 101-2012: 20/21.4; 11.8; 39.4.2.1)

3.	The hospital meets all other Life Safety Code extinguishing requirements related to NFPA 101-2012: 20/21.3.5)