POLICY

<<Facility Name>> wants to ensure the safest possible daily operation and functions of the facility with the Magnetic Resonance Imaging (MRI) equipment so as to avoid death, injury, or illness.  This policy will help to promote safe operations in and around the MRI equipment through risk assessment.

PURPOSE

To identify areas through a risk assessment within the Radiology areas of scanning patients, that may cause hazards to staff and patients. When a patient arrives to the MRI for scanning, a patient risk assessment is performed to verify the patient’s concerns, products that may interfere with a safe scan and assure the safety of the staff through the assessment.

PROCEDURE

- The <<Director of Radiology or Safety Officer>> will perform a MRI Risk Assessment (Attachment I) on an <<annual basis>> to ensure the environment is maintaining a safe environment and identify issues that may cause concern.

- The assessment will be conducted in all areas of the Radiology Areas, including the MRI.

- The evaluator completes the form by identifying the risks related to each area.

- Each risk is scored using the numerical values on the scoring criteria below.

- The number entered for the value based on the scoring criteria below:

Scoring Criteria

| 0 | No Risk or Not Applicable |
| --- | --- |
| 1 | Minimal Risk |  |  |
| 2 | Moderate Risk |  |  |
| 3 | High Risk |  |  |

To determine the appropriate score for each identified risk, the evaluator will consider information obtained through the following:

  - Physical tour of the area

  - Regulatory compliance (e.g., OSHA, NFPA®, The Joint Commission®, Department of Health)

  - Review of annual incident and accident statistics

  - Results of root cause analyses

  - Interviews with department heads & staff

  - Best demonstrated practices

- Results are submitted to the Environment of Care (EOC) Committee for review, updates, and changes.

- The <<Safety Officer, Risk Assessment Team and/or EOC Committee>> will determine if additional changes in process, training, policy and/or procedure or PPE/Safety equipment will be required to eliminate or minimize the impact of the risk. This information will be put into the cell on the form corresponding to the action to be taken.

- The results of the assessment are used to identify risks that require new, changed, or updated policies, procedures, and controls to eliminate or minimize the risks.

| C | Change in process required |
| --- | --- |
| T | Training required |
| P | Policy & procedure required |
| E | PPE/safety equipment required |

- Any risk element from the risk assessment receiving a value of <<3 or greater>> for an area will be further reviewed and the appropriate controls or measures implemented to reduce the risk. These risks identified will have specific controls and procedures identified to reduce the hazards identified. The key practices and activities will be identified that should be changed or improved to better control the potential for injury, illness, or other adverse results.

- The MRI Risk Assessment will be share with the <<EOC Committee and/or Radiation Safety Committee>> upon completion. The results of the assessment and changes will also be shared in the same report.

Attachments

Attachment I- MRI Risk Assessment (New SS-EC.02.01.01EP14 b)