## POLICY

<<Facility Name>> ensures its’ building systems are designed to meet National Fire Protection Association (NFPA) Categories 1-4 requirements.

DEFINITIONS

Category 1: Facility systems in which failure of such equipment or system is likely to cause major injury or death of patients or caregivers shall be designed to meet system Category 1 requirements.

Category 2: Facility systems in which failure of such equipment is likely to cause minor injury to patients or caregivers shall be designed to meet system Category 2 requirements.

Category 3: Facility systems in which failure of such equipment is not likely to cause injury to patients or caregivers but can cause patient discomfort shall be designed to meet system Category 3 requirements.

Category 4: Facility systems in which failure of such equipment would have no impact on patient care shall be designed to meet system Category 4 requirements.

PROCEDURE

- At least triennially (once every three years) the organization shall re-evaluate risks and complete a risk category evaluation.

- Upon installation and before use of a new utility system, the facility evaluated its’ risk and complete a risk category evaluation.

ATTACHMENT:

Attachment I- 2012 Risk Categ Eval Form (UT-EC.02.05.01EP2 b)