# POLICY

# It is the policy of <<Facility Name>> to consider all operating rooms to be wet procedure locations unless determined otherwise though risk assessment.

# PROCEDUE

- Operating rooms defined as wet procedure locations are protected by isolated power or ground fault circuit interrupters.

- If <<Facility Name>> believes that a location is not a wet procedure location a risk assessment would be conducted to make an appropriate determination.