# POLICY

It is the policy of <<Facility Name>> to ensure that relocatable power taps (RPTs) /power strips in the facility are utilized with patient, staff and visitor safety being of utmost concern.

# PROCEDURE

Power strips in a patient care vicinity are only used for components of movable electrical equipment used for patient care that have been assembled by qualified personnel. These power strips meet UL 1363A or UL 60601-1.

Power strips used outside of a patient care vicinity, but within the patient care room, meet UL 1363. In non–patient care rooms, power strips meet other UL standards.