## UT Inventory
<<Facility Name>>
<<City, State>>
Utility Systems Inventory Form
Risk Factor | Alt. Equip. Maint. Prog. | Equipment Type | Equipment Name | Bldg.-Floor | Location | Inventory ID/Barcode # | JCI Code | Manufacturer | Model Number | Serial Number | Notes
20 | No | Fire Alarm Control Panel | Fire Alarm Control Panel | General Hospital | Fire Alarm Control Panel Corridor By room AG05 | 2416981 | WBA000101138 | Simplex | 4100ES | Nonexistent
14 | No | Elevator | A1 | General Hospital | A1 AB-49 | 2409021 | WBA000100793 | Otis | 176298 | 21234 | hDC Motor MG NYC ID 2407
17 | No | Elevator | A2 | General Hospital | A2 AB-49 | 2409022 | WBA000100794 | Otis | 176299 | 45206 | DC Motor MG ID 2408
17 | No | Elevator | A3 | General Hospital | A7 AB-43 | 2409023 | WBA000100792 | Otis | 176304 | 3264803 | DC Motor MG ID 2409
20 | No | Automatic Transfer Switch | ATS 1 | General Hospital | ATS 11 AB50 | 2416792 | WBA000100765 | ASCO | E962340097XC | 192641001 1 | Gen 4
20 | No | Automatic Transfer Switch | ATS 2 | General Hospital | ATS 18 AB49 | 2417299 | WBA000100796 | ASCO | 962360049XC | 925875-3 | Gen 4
20 | No | Automatic Transfer Switch | ATS 3 | General Hospital | ATS1 AB-46 | 2409116 | WBA000100599 | ASCO | J07ATSC30400C5XC | 467553-007 RE | AB46/ATS-12/GEN 4 Serves ABC-Bldg
20 | No | Automatic Transfer Switch | ATS 4 | General Hospital | ATS2 AB-46 | 2409111 | WBA000100598 | ASCO | 962340049XC | 935817 | AB46/ATS-13/GEN 4 Serves ABC-Bldg
20 | No | Automatic Transfer Switch | ATS 5 | General Hospital | ATS4 AB57A | 2409313 | WBA000100595 | ASCO | J7ATSC3400C5XC | 467553-004 RE | AB57A/ATS-1/GEN 13
20 | No | Fire Alarm Control Panel | Fire Alarm Control Panel | General Hospital | Fire Alarm Control Panel Corridor By room BG264 | 2416974 | WBA000101132 | Simplex | 4100ES | Nonexistent
17 | No | Medical Air | MedGas1 | General Hospital | BMedGas1 BB-19 Cellar | 2409357 | WBA000101171 | ITT | EP-10 | 342944 | Medical Gas Air Compressor Scales
17 | No | Medical Air | MedGas2 | General Hospital | BMedGas2 BB-19 Cellar | 2409367 | WBA000101164 | Quincy | QRDS-40P200 | 20040211-0022 | Medical Gas Air Compressor Scales
17 | No | Medical Air | MedGas3 | General Hospital | BMedGas3 BB-19 Cellar | 2409368 | WBA000101172 | ITT | EP-10 | 342944 | Medical Gas Air Compressor Scales
17 | No | Medical Air | MedGas4 | General Hospital | BMedGas4 BB-19 Cellar | 2409369 | WBA000101001 | Siemew & Hinsch | BN041010 | Nonexistent | Scales, Liquid Ring Medical Gas Air Compressor
17 | No | Medical Air | MedGas5 | General Hospital | BMedGas5 BB-19 Cellar | 2409370 | WBA000101002 | Siemew & Hinsch | BN041010 | KPHE55206 | Scales, Liquid Ring Medical Gas Air Compressor
17 | No | Medical Vacuum | MedVac1 | General Hospital | BMedVac1 BB-19 Cellar | 2418554 | WBA000101169 | Thomas Industries | 107-FR | 1911370297
17 | No | Medical Vacuum | MedVac2 | General Hospital | BMedVac2 BB-19 Cellar | 2418553 | WBA000101170 | Thomas Industries | 107-FR | 1913170297
17 | No | Medical Vacuum | MedVac3 | General Hospital | BMedVac3 BB-19 Cellar | 2409492 | WBA000101200 | Thomas Industries | 107-FR | 12637-0297
17 | No | Medical Vacuum | MedVac4 | General Hospital | BMedVac4 BB-19 Cellar | 2409493 | WBA000101173 | Purcell Pump Engineering | Nonexistent | H-4413-C | Siemew & Hinsch, Liquid Ring
17 | No | Medical Vacuum | MedVac5 | General Hospital | BMedVac5 BB-19 Cellar | 2409494 | WBA000101174 | Purcell Pump Engineering |  | H-4123-C | Siemew & Hinsch, Liquid Ring
17 | No | Pump | Fuel oil pump | General Hospital | Fuel oil pump Generator room BB-19 | 2421443 | WBA000101175 | Preferred Utility | L0-201 |  | Two Pump Systems Fuel oil pump
17 | No | Generator | Gen 11 | General Hospital | Gen4 BB18/19 | 2409020 | WBA000100546 | Caterpillar | C27 DITA | AFN0422 GPO452 DM9071 | Emergency Generator
19 | No | Switchgear | SWBD DP.1 | General Hospital | SWBD DP.1 BB-61 | 2416490 | WBA000100561 | FPE | Nonexistent | Nonexistent
19 | No | Switchgear | SWBD DP.3 | General Hospital | SWBD DP.3 BB-61 | 2416493 | WBA000100740 | FPE | Nonexistent | Nonexistent
17 | No | Transformer | TX-1 | General Hospital | TX-3A BB73 | 2416257 | WBA000100739 | GE | 9T23B3809 | Nonexistent | Normal Feed ATS#7 GEN#4
17 | No | Transformer | TX-2 | General Hospital | TX-3B BB73 | 2416258 | WBA000100560 | GE | 9T23B3809 | Nonexistent | Normal Feed to XP3C 480V 3rd Floor
18 | No | Storage Tank (Other) | Tank 1 | General Hospital | House Tank No. 1 Above Elevator Machine Rm. | 2418206 | WBA000100902 | Not Available | Not available | Not available | Domestic Water/Fire Protection Water; Serves buildings A, B, & C
18 | No | Storage Tank (Other) | Tank 2 | General Hospital | House Tank No. 2 Above Elevator Machine Rm. | 2418207 | WBA000100903 | Not available | Not available | Not available | Domestic Water/Fire Protection Water; Serves buildings A, B, & C
18 | No | Pump | Pump 1 | General Hospital | FOP-1A Room # DCN09 | 2414051 | WBA000100352 | Marathon | 7VD56TJ1F5308F | 569
18 | No | Pump | Pump 2 | General Hospital | FOP-1B Room # DCN09 | 2414052 | WBA000100353 | Marathon | 7VD56TJ1F5308F | 587
18 | No | Water Storage Tank (Domestic Water) | Dist 1 | General Hospital | WT-1 Mechanical room | 2414047 | WBA000100349 | Bell & Gossett | B-KOOD | 83870
18 | No | Water Storage Tank (Domestic Water) | Dist 2 | General Hospital | WT-2 Mechanical room | 2414050 | WBA000100351 | Bell & Gossett | Could not find | 94912
9 | Yes | Pump | HWHP - 1 -3 | General Hospital | HWHP - 1 -3 Mech Room E1W07 | 2416202 | WBA000100657 | Armstrong | Could not reach to read | Could not reach to read | Serves heating coil of AHU-1-3
9 | Yes | Pump | HWHP - 1 -4 | General Hospital | HWHP - 1 -4 Mech Room E1E67 | 2416207 | WBA000100662 | Armstrong | 1.5B 43608-04 | 470592 | Serves heating coil of AHU-4-1
9 | Yes | Pump | HWHP - 1 -5 | General Hospital | HWHP - 1 -5 Mech Room E1E67 | 2416208 | WBA000100663 | Armstrong | 1.5B 4360B-01 | 490597 | Serves heating coil of AHU-4-1