# POLICY

It is the policy of <<Facility Name>> to meets the requirements of the National Fire Protection Association (NFPA) Health Care Facilities Code NFPA 99-2012 edition Chapter 6 and Chapter 9.

# PROCEDURE

Chapter 6

- Chapter 6 of NFPA 99-2012 edition relates to “Electrical Systems” and often references back to other applicable NFPA codes including, but not limited to National Electric Code NFPA 70-2011, Standard for Emergency and Standby Power Systems NFPA 110-2010.

- Chapter 6 is applicable in new health care facilities (as specified in Section 1.3)

- Paragraphs of this chapter shall apply to new and existing health care facilities:

- 6.3.2.2.4.2

- 6.3.2.2.6.1

- 6.3.2.2.6.2 (F)

- 6.3.2.2.8.5 (B) (2), and (4)

- 6.3.2.2.8.7

- 6.3.4

- 6.4.1.1.17.5

- 6.4.2.2.6.2 (C)

- 6.4.2.2.6.3

- 6.4.4

- 6.5.4

- 6.6.2.2.3.2

- 6.6.3.1

- 6.6.4

- Paragraph 6.3.2.2.2.3 shall only apply to existing health care facilities

- The focus of this chapter includes:

- Nature of Hazards

- Electrical Systems

- Essential Electrical System Requirements – Type 1

- Essential Electrical System Requirements – Type 2

- Essential Electrical System Requirements – Type 3

Chapter 9

- Chapter 9 of NFPA 99-2012 edition relates to Heating Ventilation, and Air Conditioning (HVAC) and often references back to other applicable NFPA codes including, but not limited to Compressed Gases and Cryogenic Fluid NFPA 55-2010 Standard for Emergency and Standby Power Systems NFPA 110-2010, Standard on Fire Protection for Laboratories NFPA 45-2011, Standard for the Installation of Air-Conditioning and Ventilation Systems NFPA 90A as well as ASHRAE guidelines

- Chapter 9 is applicable to new construction of health care facilities, it also applies to altered, renovated, or modernized portions of existing systems or individual components.

- Existing construction or equipment is permitted to be continued in use when such use does not constitute a distinct hazard to life.

- The focus of this chapter includes:

- System Category Criteria

- General

- Commissioning

<<For hospitals that use Joint Commission for deemed status purposes>>

The hospital meets the applicable provisions of the Health Care Facilities Code Tentative Interim Amendments (TIAs) 12-2 and 12-3.

A copy of NFPA 99-2012 is available in <<Facilities Manager’s Office, other>>.