# POLICY

<<Facility Name>> at least annually tests the quality of fuel serving diesel powered generators in accordance with ASTM standards.

# PROCEDURE

Qualified vendors <<are, may be>> used to test fuel supply in accordance with current ASTM standards and NFPA 110-2010: 8.3.8. Documentation and results of testing will be maintained.