POLICY

It is the policy of <<Facility Name>> that the bulk oxygen systems are safely secured and maintained.

PROCEDURE

- The hospital has bulk oxygen systems above ground.  They will remain locked at all times and the enclosure (such as a fence) will maintain at least 10 feet from vehicles and sidewalks.

- There is permanent signage stating “OXYGEN – NO SMOKING – NO OPEN FLAMES” that is visible at all areas around the enclose to ensure safety.

- Use extreme caution when working in or around the bulk oxygen systems. The risks of combustion are much greater in an environment of pure oxygen.  Avoid skin contact with liquid oxygen due to its extremely low temperature.

- If there is a problem with the storage tank or a failure has occurred, notify vendor <<Company Name and emergency number>>. Request emergency delivery of oxygen, or service as needed from the vendor.

- Notify the <<Title (e. g., Director of Facilities Management)>> to determine length of down time.  At that time the <<Title>> will notify <<Administration, Nursing and Surgery>>.

- The hospital’s emergency oxygen supply connection is installed in a manner that allows a temporary auxiliary source to connect to it.

- The documentation of rounds to ensure safety of the area will be maintained in the <<Engineering Department>> department.