# POLICY

It is the policy of <<Facility Name>> to ensure building and fire protection features are designed and maintained to minimize the effects of fire, smoke, and heat.

# PURPOSE

A building must be designed, constructed, and maintained in order to minimize danger from the effects of fire, including, smoke, heat, and toxic gases.  The structural characteristics of the building, as well as its age, determine the types of fire protection features that are needed.  The features covered in this standard include the structure, automatic sprinkler systems, building separations, and doors.

# PROCEDURE

Prior to entering into any construction, renovation, modernization, or alteration of the building, the organization will ensure there will be no adverse effect on the structure and features of fire protection including but not limited to structural fire proofing, exits, vertical separations, smoke compartmentations, fire walls and doors, shafts, fire/smoke dampers, fire suppression systems etc.

The organization will adhere to all applicable city, state, national and accreditation guidelines regarding the design, installation, and maintenance of features of fire protection for its buildings.  Specifically, the organization will ensure compliance with NFPA 101, Life Safety Code 2012 edition and The Joint Commission standards LS.05.01.10 EP 1 - 7.

<<Facility Name>> meets all other Life Safety Code requirements related to NFPA 101-2012: 38/39.