POLICY

It is the policy of <<Facility Name>> to maintain the integrity of the means of egress in all business occupancy buildings.

## PURPOSE

The purpose of this policy is to ensure that proper exiting is provided and maintained in all business occupancies.  Since patients in these buildings are by definition capable of self-preservation, the expectation is that in the event of a fire, patients will simply go to the nearest exit and leave the building to an area of safety outside the building.

RESPONSIBILITY

The <<Facilities Department>> is responsible for maintaining the architectural integrity of the Means of Egress.

PROCEDURE

The organization ensures maintenance of means of egress through its design, maintenance, and surveillance activities.  These activities included but are not necessarily limited to pre-design review of planned construction, final review and walk-thru post construction, regular maintenance activities related to doors, walls, floors, etc., and routine surveillance activities to ensure code compliance.

Areas considered during these activities include but are not limited to things like locking of doors in egress paths, door swing, wall continuity, corridor obstructions, vision panels in fire doors, exit signs, egress illumination, and numerous other Life Safety Code requirements.

- Specifically, the organization will ensure that exiting from these buildings complies with chapter 7 of NFPA 101 generally and all provisions of chapters 38/39 of NFPA 101 specifically.

- The hospital meets all other Life Safety Code means of egress requirements related to NFPA.