Please Note:  The CD-R, which accompanies this manual, contains the following documents as listed below.  Documents are electronically saved as MS Word (.doc) files, unless identified otherwise.

LS.01.01.01 - Designs & manages the physical environment to comply with the Life Safety Code.

SC-LS.01.01.01 EP1 a Policy on Assessment of Responsibility for Life Safety Activities

SC-LS.01.01.01EP1b Attach I-Appointment of Life Safety Program

SC-LS.01.01.01 EP2 Policy on Performing a Life Safety Building Assessment

SC-LS.01.01.01 EP3 Policy on Maintaining Current Life Safety drawings

SC-LS.01.01.01EP4 a Policy for Meeting SPFI Timeframe

SC-LS.01.01.01EP5 a Policy for Doc Inspections & Approvals by Fire Control Agencies

SC-LS.01.01.01EP5 b Form- Attach I-Fire Inspection & Approval Summary

SC-LS.01.01.01EP6 Policy on Removing Life Safety Features

SC-LS.01.01.01EP7 Policy on Maintaining a Current BBI within the SOC

LS.01.02.01 – The hospital protects occupants during periods when the Life Safety Code (LSC) is not met or during periods of construction.

IL-LS.01.02.01 EP1 a Policy on ILSM

IL-LS.01.02.01 EP2 a Policy for Fire Watch

IL-LS.01.02.01 EP2 b Form- Attach I-Fire Watch Checklist (.xls)

IL-LS.01.02.01 EP2 c Form-Attach II-Follow-up for Identified Conditions (.xls)

IL-LS.01.02.01EP2 d Form- Attach III- ILSM Instruction and Fire Watch Log (.xls)

IL-LS.01.02.01 EP3-15 b Form-Attach I- Life Safety Deficiency Assessment (.xls)

IL-LS.01.02.01 EP3-15 c Form-Attach II- ILSM Assessment Tool (.xls)

IL-LS.01.02.01 EP3-15 d Form-Attach III- ILSM Signage

IL-LS.01.02.01 EP3-15 e Form-Attach IV- ILSM Exit Closure Signage

IL-LS.01.02.01 EP3-15 f Form-Attach V- ILSM Monitoring Form (.xls)

IL-LS.01.02.01 EP3-15 g Form-Attach VI-ILSM Training Sheet (.xls)

HEALTHCARE

LS.02.01.10 – Building and fire protection features are designed and maintained to minimize the effects of fire, smoke, and heat.

BF-LS.02.01.10 EP1-15 – Building and Fire Protection Features

LS.02.01.20 – The hospital maintains the integrity of the means of egress

ME-LS.02.01.20 EP1-42 – Maintaining Means of Egress

LS.02.01.30 – The hospital provides and maintains building features to protect individuals from the hazards of fire and smoke.

FS-LS.02.01.30EP1-26 Fire & Smoke Protection

LS.02.01.34 – The hospital provides and maintains fire alarm systems.

FA-LS.02.01.34 EP1-10 – Fire Alarm Systems

LS.02.01.35 – The hospital provides and maintains systems for extinguishing fires.

FS-LS.02.01.35EP1-14 Fire Extinguishing Systems

LS.02.01.40 – The hospital provides and maintains special features to protect individuals from the hazards of fire and smoke.

SP-LS.02.01.40 EP1-2 – Special Fire Protection Features

LS.02.01.50 – The hospital provides and maintains building services to protect individuals from the hazards of fire and smoke

BS-LS.02.01.50 EP1-14 a Building Services

LS.02.01.70 – The hospital provides and maintains operating features that conform to fire and smoke prevention requirements

DH-LS.02.01.70 EP1-9 – Decorations, Receptacles, & Heating Devices

AMBULATORY

LS.03.01.10: Building and fire protection features are designed and maintained to minimize the effects of fire, smoke, and heat.

Note 1: This standard applies to ambulatory health care occupancy (AHCO) classification requirements for hospitals. The application of AHCO in a hospital would need to meet one of the following provisions: multiple occupancies (18/19.1.3), contiguous non–health care occupancy (18/19.1.3.4), separated building occupancies (20/21.1.2).

Note 2: For hospitals that use Joint Commission accreditation for deemed status purposes: This standard applies to outpatient surgical departments associated with hospitals, regardless of the number of patients rendered incapable.

Note 3: In leased facilities, the elements of performance of this standard apply only to the space in which the accredited organization is located; all exits from the space to the outside at grade level; and any Life Safety Code building systems that support the space (for example, fire alarm system, automatic sprinkler system).

BF-LS.03.01.10 EP1-11 – Building and Fire Protection Features

LS.03.01.20: The hospital maintains the integrity of the means of egress.

Note 1: This standard applies to ambulatory health care occupancy (AHCO) classification requirements for hospitals. The application of AHCO in a hospital would need to meet one of the following provisions: multiple occupancies (18/19.1.3), contiguous non–health care occupancy (18/19.1.3.4), separated building occupancies (20/21.1.2).

Note 2: For hospitals that use Joint Commission accreditation for deemed status purposes: This standard applies to outpatient surgical departments associated with hospitals, regardless of the number of patients rendered incapable.

Note 3: In leased facilities, the elements of performance of this standard apply only to the space in which the accredited organization is located; all exits from the space to the outside at grade level; and any Life Safety Code building systems that support the space (for example, fire alarm system, automatic sprinkler system).

ME-LS.03.01.20 EP1-17 – Maintaining Means of Egress

LS.03.01.30: The hospital provides and maintains building features to protect individuals from the hazards of fire and smoke.

Note 1: This standard applies to ambulatory health care occupancy (AHCO) classification requirements for hospitals. The application of AHCO in a hospital would need to meet one of the following provisions: multiple occupancies (18/19.1.3), contiguous non–health care occupancy (18/19.1.3.4), separated building occupancies (20/21.1.2).

Note 2: For hospitals that use Joint Commission accreditation for deemed status purposes: This standard applies to outpatient surgical departments associated with hospitals, regardless of the number of patients rendered incapable.

Note 3: In leased facilities, the elements of performance of this standard apply only to the space in which the accredited organization is located; all exits from the space to the outside at grade level; and any Life Safety Code building systems that support the space (for example, fire alarm system, automatic sprinkler system).

FS-LS.03.01.30EP1-17 – Fire & Smoke Protection

LS.03.01.34: The hospital provides and maintains fire alarm systems.

Note 1: This standard applies to ambulatory health care occupancy (AHCO) classification requirements for hospitals. The application of AHCO in a hospital would need to meet one of the following provisions: multiple occupancies (18/19.1.3), contiguous non–health care occupancy (18/19.1.3.4), separated building occupancies (20/21.1.2).

Note 2: For hospitals that use Joint Commission accreditation for deemed status purposes: This standard applies to outpatient surgical departments associated with hospitals, regardless of the number of patients rendered incapable.

Note 3: In leased facilities, the elements of performance of this standard apply only to the space in which the accredited organization is located; all exits from the space to the outside at grade level; and any Life Safety Code building systems that support the space (for example, fire alarm system, automatic sprinkler system).

FA-LS.03.01.34 EP1-10– Fire Alarm Systems

LS.03.01.35: The hospital provides and maintains equipment for extinguishing fires.

Note 1: This standard applies to ambulatory health care occupancy (AHCO) classification requirements for hospitals. The application of AHCO in a hospital would need to meet one of the following provisions: multiple occupancies (18/19.1.3), contiguous non–health care occupancy (18/19.1.3.4), separated building occupancies (20/21.1.2).

Note 2: For hospitals that use Joint Commission accreditation for deemed status purposes: This standard applies to outpatient surgical departments associated with hospitals, regardless of the number of patients rendered incapable.

Note 3: In leased facilities, the elements of performance of this standard apply only to the space in which the accredited organization is located; all exits from the space to the outside at grade level; and any Life Safety Code building systems that support the space (for example, fire alarm system, automatic sprinkler system).

FE-LS.03.01.35 EP1-8 – Fire Extinguishing Systems

LS.03.01.40: The hospital provides and maintains special features to protect individuals from the hazards of fire and smoke.

Note 1: This standard applies to ambulatory health care occupancy (AHCO) classification requirements for hospitals. The application of AHCO in a hospital would need to meet one of the following provisions: multiple occupancies (18/19.1.3), contiguous non–health care occupancy (18/19.1.3.4), separated building occupancies (20/21.1.2).

Note 2: For hospitals that use Joint Commission accreditation for deemed status purposes: This standard applies to outpatient surgical departments associated with hospitals, regardless of the number of patients rendered incapable.

Note 3: In leased facilities, the elements of performance of this standard apply only to the space in which the accredited organization is located; all exits from the space to the outside at grade level; and any Life Safety Code building systems that support the space (for example, fire alarm system, automatic sprinkler system).

SP-LS.03.01.40 EP1-3 – Special Fire Protection Features

LS.03.01.50: The hospital provides and maintains building services to protect individuals from the hazards of fire and smoke.

Note 1: This standard applies to ambulatory health care occupancy (AHCO) classification requirements for hospitals. The application of AHCO in a hospital would need to meet one of the following provisions: multiple occupancies (18/19.1.3), contiguous non–health care occupancy (18/19.1.3.4), separated building occupancies (20/21.1.2).

Note 2: For hospitals that use Joint Commission accreditation for deemed status purposes: This standard applies to outpatient surgical departments associated with hospitals, regardless of the number of patients rendered incapable.

Note 3: In leased facilities, the elements of performance of this standard apply only to the space in which the accredited organization is located; all exits from the space to the outside at grade level; and any Life Safety Code building systems that support the space (for example, fire alarm system, automatic sprinkler system).

BS-LS.03.01.50 EP1-10 Building Services

LS.03.01.70: The hospital provides and maintains operating features that conform to fire and smoke prevention requirements.

Note 1: This standard applies to ambulatory health care occupancy (AHCO) classification requirements for hospitals. The application of AHCO in a hospital would need to meet one of the following provisions: multiple occupancies (18/19.1.3), contiguous non–health care occupancy (18/19.1.3.4), separated building occupancies (20/21.1.2).

Note 2: For hospitals that use Joint Commission accreditation for deemed status purposes: This standard applies to outpatient surgical departments associated with hospitals, regardless of the number of patients rendered incapable.

Note 3: In leased facilities, the elements of performance of this standard apply only to the space in which the accredited organization is located; all exits from the space to the outside at grade level; and any Life Safety Code building systems that support the space (for example, fire alarm system, automatic sprinkler system).

DH-LS.03.01.70 EP1-9 – Decorations, Receptacles, & Heating Device

BUSINESS

LS.5.01.01.10:  Building and fire protection features are designed and maintained to minimize the effects of fire, smoke, and heat.

BF-LS.05.01.01EP1-7 Building and Fire Protection

LS.05.01.01.20:  The hospital maintains the integrity of the means of egress.

ME-LS.05.01.01EP1-9 Means of Egress

LS.05.01.01.30:  The hospital provides and maintains building features to protect individuals from the hazards of fire and smoke.

HA-LS.05.01.01EP1-4 Hazardous Areas

LS.05.01.01.34 The hospital provides and maintains fire alarm systems.

FA-LS.05.01.01EP1-3 Fire Alarm Systems

LS.05.01.01.35 The hospital provides and maintains equipment for extinguishing fires.

FS-LS.05.01.01EP1-6 Fire Extinguishing Systems