Standard EC.02.01.03

The hospital prohibits smoking except in specific circumstances.

Elements of Performance for EC.02.01.03

EC.02.01.03 EP1 - The hospital develops a written policy prohibiting smoking in all buildings. Exceptions for patients in specific circumstances are defined. Note: The scope of this EP is concerned with all smoking types—tobacco, electronic, or other.

EC.02.01.03 EP 4 - Smoking materials are removed from patients receiving respiratory therapy. When a nasal cannula is delivering oxygen outside of a patient’s room, no sources of ignition are within the site of intentional expulsion (within 1 foot). When other oxygen delivery equipment is used or oxygen is delivered inside a patient’s room, no sources of ignition are within the area of administration (within 15 feet). Solid fuel–burning appliances are not in the area of administration. Nonmedical appliances with hot surfaces or sparking mechanisms are not within oxygen-delivery equipment or site of intentional expulsion. (For full text, refer to NFPA 99-2012: 11.5.1.1; Tentative Interim Amendment (TIA) 12-6)

EC.02.01.03EP6-The hospital takes action to maintain compliance with its smoking policy.

### Recommended Document:

- Smoking Policy that identifies all requirements listed in the EPs

### Examples:

SS-EC.02.01.03EP1-6 -Smoking Policy