~Special Fire Protection Features

Standard LS.02.01.40

The hospital provides and maintains special features to protect individuals from the hazards of fire and smoke.

LS.02.01.40EP1-High-rise buildings have an approved automatic sprinkler system that meets the requirements of NFPA 101-2012: 18/19.4.2 (For full text, refer to NFPA 101-2012: 11.8)

Note:  Organizations that do not have approved automatic systems in high-rise buildings (over 75 feet tall) as of July 5, 2016, have 12 years to install them.

LS.02.01.40EP2-The hospital meets all other Life Safety Code automatic extinguishing requirements related to NFPA 101-2012: 18/19.4.2

### Recommended Documents:

Policy for determining compliance

Examples:

SP-LS.02.01.40 EP1-2 – Special Fire Protection Features