POLICY

<<Facility Name>> activities and frequencies for inspecting, testing, and maintaining will be in accordance with manufacturers’ recommendations for new medical equipment and those subject to the law.

PROCEDURES

- The <<Biomedical Engineering Department>> will inspect, test, and maintain in accordance with manufacturers’ recommendations for the following items:

  - Equipment subject to federal or state law or Medicare Conditions of Participation in which inspecting, testing, and maintaining be in accordance with the manufacturers’ recommendations, or otherwise establishes more stringent maintenance requirements.

  - Medical laser devices

  - Imaging and radiologic equipment (whether used for diagnostic or therapeutic purposes)

  - New medical equipment with insufficient maintenance history to support the use of alternative maintenance strategies.

- Documentation of testing of these devices will be maintained by the <<Biomedical Engineering Director>>, included in the Maintenance Management System (MMS). The documentation will include the maintenance history and any of the following documented evidence:

  - Records provided by the hospital’s contractors

  - Information made public by nationally recognized sources

  - Records of the hospital’s experience over time

- The <<Biomedical Engineering Director>> assures that scheduled testing of new equipment is performed promptly.