POLICY

It is the policy of <<Facility Name>> to respond to a failure of medical equipment and provide emergency clinical interventions when appropriate.

RESPONSE

The << Biomedical Engineering Department>> will be available on a 24-hour-a-day basis to respond to emergencies involving medical equipment malfunctions and or failures.  During normal business hours, the << Biomedical Engineering Department >> can be contacted directly by telephone or pager.  During evenings, nights, weekends, and holidays, the on-call << Biomedical Engineering Department>> technician may be contacted on long-range pager through the Medical Center’s telephone operators.

In the event of malfunction or failure of a piece of Life Support Equipment, staff shall follow the Clinical Intervention Protocol until replacement equipment can be obtained.

PROCEDURE

- In the event of an emergency involving a medical equipment malfunction or failure, the medical and clinical staff members are instructed to take the required steps to insure the safety of the patient and attempt to locate the appropriate replacement equipment.

- The staff should then contact the << Biomedical Engineering Department>> immediately for a failure involving medical equipment providing life support functions.

- The schedule for the on-call << Biomedical Engineering Department>> technician will be provided to the phone operators every quarter.  The on-call schedule will consist of dates, names, pager numbers, and home phone numbers of the << Biomedical Engineering Department>> staff.

- If for some reason the << Biomedical Engineering Department>> technician on-call cannot be contacted, the hospital operators are instructed to contact the << Biomedical Engineering Director>> or his/her designee.

- The << Biomedical Engineering Department>> staff member responding to the call will assess the medical equipment failure/malfunction and provide repair services for equipment that is needed before the normal repair cycle.

- Medical equipment that is involved in an event that caused or has the potential for serious injury to a patient, or is involved in the death of a patient, will be removed from service immediately.  The equipment will be evaluated, and the incident will be reported and investigated according to SMDA criteria and <<Facility Name>> policies.

- Failure of medical equipment that is not considered an emergency will be reported to << Biomedical Engineering Department>> as soon as possible.

- The equipment shall be removed from service and identified as “Not for Use” to prevent further use.

- The appropriate documentation will be sent to the << Biomedical Engineering Department>> concerning the failure.

- Department managers are responsible for identifying all items of medical equipment that would require replacement in the event the equipment is removed from service.  This determination should be based on one or more of the following conditions:

  - Equipment is critical to patient care and requires immediate replacement.

  - Equipment is non-critical and requires replacement at the earliest possible convenience.

  - Failure would necessitate patient relocation to another area with similar equipment.

  - Failure would create a strain on department services resulting from a backlog of patient scheduling.

- The department manager will contact <<Biomedical Engineering Department>> to request assistance in:

  - Locating similar equipment within the department and other areas within the <<Facility Name>>.

  - Establishing interdepartmental protocols for borrowing equipment from other departments.

  - Identifying areas with similar equipment to which patients could be relocated.

- The department will follow the appropriate protocol for the utilization of equipment cleaned and provided by <<Biomedical Engineering Department>> and <<Central Sterile Supply>>.

- The department manager will contact the <<Materials Management >> or <<Biomedical Engineering Department>> for assistance in:

  - Identifying rental companies which specialize in medical equipment

  - Identifying vendors with loaner policies for equipment

ATTACHMENTS:

Attachment I- Emergency Response-Clinical Interventions (ME-EC.02.04.01EP9 b)