POLICY

Before initial use on a patient, all new medical equipment will be tested upon delivery or after installation and after major repairs or upgrades of medical equipment on the medical equipment inventory, the hospital performs safety, operational, and functional checks. This will include mobile equipment used by the facility.

# TESTING ON DELIVERY

All portable and other non-fixed medical equipment will be tested by <<Biomedical Engineering Department>> at the time of delivery before initial use and after major repairs or upgrades.

- Purchasing will deliver all new medical equipment to <<Biomedical Engineering Department>> after the equipment packaging has been inspected for damage. Damaged goods will be returned to the supplier.

- <<Biomedical Engineering Department>> will unpack and inspect the equipment for hidden damage.  In addition, <<Biomedical Engineering Department>>will determine if all required operating and service information was supplied with the equipment.  Damage or missing documentation will be reported to <<Material Management>>.  <<Biomedical Engineering Department>>will hold the equipment and packaging until these issues are corrected. <<Material Management>> will notify the supplier to take necessary action.

- <<Biomedical Engineering Department>> will conduct appropriate safety, operational, functional, and calibration checks. When it is determined that the equipment meets all requirements for performance and safety, the equipment will be released for installation and/or use.

# INSTALLATION

- All fixed and mounted equipment will be installed as specified in the purchasing agreement.

- The manufacturer, supplier, or <<Biomedical Engineering Department>> will install or mount the equipment as required.

- All required power and signal lines will be installed and certified as specified in the purchasing agreement.

- All fixed and mounted equipment will be tested before initial use and after major repairs or upgrades and perform the appropriate safety, operational, functional, and calibration checks as specified in the purchasing agreement.  <<Biomedical Engineering Department>> and appropriate clinical staff will witness all certification testing and calibration not performed by hospital staff.