POLICY

<<Facility Name>> wants to ensure the safest possible daily operation and functions of the facility with the positron emission tomography (PET) services to avoid death, injury, or illness.  This policy will guide the testing criteria needed to ensure the safe operations of the PET imaging equipment.

PURPOSE

To perform annual performance evaluations on PET imaging equipment.

PROCEDURE

- At least annually, a diagnostic medical physicist conducts a performance evaluation which is documented in Attachment I.

Note: The following tests are recommended, but not required, for PET scanner testing: sensitivity, energy resolution, and count-rate performance.

- The evaluation results, along with recommendations for correcting any problems identified, are documented in the Maintenance Management System (MMS).

- The evaluations are conducted for all of the image types produced clinically by each PET scanner (for example, planar and/or tomographic) and include the use of phantoms to assess the following imaging metrics:

  - Image uniformity/system uniformity

  - High-contrast resolution/system spatial resolution

  - Low-contrast resolution or detectability (not applicable for planar acquisitions)

  - Artifact evaluation

- The performance evaluation is completed by <<DATE>> each year. The information is given to the <<Director of Radiology or Medical Director>> immediately if problems are identified. If information is meeting the criteria determined to be safe, the report will be given within <<24 hours>>.

- The <<Director of Radiology or Medical Director>> will present this report’s information and status to the <<Environment of Care Committee, Radiology Committee, and/or Safety Committee>> at the next meeting after the report.

Attachments

Attachment I- PET Services Performance Evaluation (ME-EC.02.04.03EP 24 b)