#### POLICY

It is the policy of <<Facility Name>> to perform maintenance on anesthesia apparatus.

PROCEDURE

#### The <<Identify Department (e.g. Clinical Engineering Department)>> is responsible for maintenance on anesthesia apparatus.

- Apparatus are tested at the final path to the patient after any adjustment, modification, or repair.

- Defective equipment/electrical apparatus is immediate and will not be used and they will be removed from service.

- Before to the apparatus is returned to service, each connection is checked to verify proper gas flow, and an oxygen analyzer is used to verify oxygen concentration.

- Defective Oxygen equipment will not be used until one of the following is performed.

  - It has been repaired by competent in-house personnel

  - It has been repaired by the manufacturer or his or her authorized agent

  - It has been replaced

- Areas designated for servicing of oxygen equipment are clean and free of oil, grease, or other flammables.

- Pressure-reducing regulators that need repair or cylinders having valves that do not operate properly will not be used.

- Service manuals, instructions, and procedures provided by the manufacturer are used in the maintenance of equipment,

- Anesthesia apparatus are included in the preventative maintenance program.

References: NFPA 99-2012: 11.4.1.3; 11.5.1.3; 11.6.2.5; 11.6.2.6