POLICY

It is the policy of <<Facility Name>> to clearly and properly label equipment listed for use in oxygen-enriched atmospheres including, but not limited to:

- Equipment listed for use in oxygen-enriched atmospheres is clearly and permanently labeled (withstands cleaning/disinfecting) as follows:

- Oxygen-metering equipment, pressure-reducing regulators, humidifiers, and nebulizers are labeled with the name of the manufacturer or supplier.

- Oxygen-metering equipment and pressure-reducing regulators are labeled "OXYGEN–USE NO OIL."

- Labels on flowmeters, pressure-reducing regulators, and oxygen-dispensing apparatuses designate the gases for which they are intended.

- Cylinders and containers are labeled in accordance with Compressed Gas Association (CGA) C-7. (For full text, refer to NFPA 99-2012: 11.5.3.1)

- Color coding is not utilized as the primary method of determining cylinder or container contents.