POLICY

It is the policy of <<Facility Name>> to respond to a utility systems disruption, when appropriate.

RESPONSE

The <<Engineering Department>> will be available on a 24-hour-a-day basis to respond to emergencies involving utility systems disruption.  During normal business hours, the <<Engineering Department >> can be contacted directly by telephone, intranet, or pager.  During evenings, nights, weekends, and holidays, the on-call <<Engineering Department>> staff may be contacted on long-range pager through the Medical Center’s telephone operators.  The schedule for the on-call <<Engineering Department>> staff will be provided to the phone operators every quarter.  The on-call schedule will consist of dates, names, pager numbers, and home phone numbers of the <<Engineering Department>> staff.  If for some reason the <<Engineering Department>> staff on-call cannot be contacted, the hospital operators are instructed to contact the <<Engineering Department Director>> or his/her designee.

PROCEDURE:

In the event of an emergency involving the disruption of a utility system:

- The department staff is instructed to take the required steps to insure the safety of the patient.

- The department manager will notify the staff in the area about the malfunction to provide the appropriate care to patients in the area.

- When appropriate, the department manager will shut off the utility system, e.g. medical gas, with assistance identified in the procedure.

- The department staff should then contact the <<Engineering Department>> immediately concerning a failure involving a utility system providing life support or high-risk infection control functions.

- The <<Engineering Department>> personnel will respond to the situation and assist in shutting down the utility system when appropriate.

- In the event of malfunction or failure of an operating component of a utility system providing life support or high-risk infection control protection, the staff shall follow the emergency clinical intervention protocol until the system is restored or replaced.

- The <<Engineering Department>> staff member responding to the call will assess the failure/malfunction and provide repair services for systems that are needed before the normal repair cycle.

- Operating components that are involved in an event that caused or has the potential for serious injury to a patient, or is involved in the death of a patient, will be removed from service immediately.

DOCUMENTATION

- The appropriate incident report will be submitted to <<Risk Management>> and <<Engineering Department and Safety Officer>>.

- The response to the event is critiqued and modifications to the response activities will be made if necessary.

- The results of any investigation will be presented to the <<EOC Committee>>.