INTRODUCTION:

This failure is to the natural gas system supplied by the local natural gas distribution company that supplies the fuel-operated boilers, water heaters, and kitchen cooking equipment.

- MITIGATION:

- Design and plan for switching boilers from natural gas to fuel oil.

- Plans for cooking food with additional heating options

- One gas line runs through <<Power Plant>> and another through the main hospital to kitchen

- PREPAREDNESS

  - Staff Training

  - Identified resources and contacts to aid response to the failure along with equipment and knowledgeable contractors, such as boiler and water heaters contractors and municipal and county emergency response services.

- RESPONSE

- When natural gas has been interrupted, the boilers will send an alarm to the main control panel.

- <<Engineering Department>> will notify <<local gas service>> 24-hour Emergency <<phone number>> for loss of natural gas.

- <<Engineering Department>> will notify the Incident Commander of natural gas failure and that heating may be interrupted while moving boilers to fuel oil.

- <<Identify department>> to distribute blankets, fluid and wipe warmers, etc.

- The Incident Commander with the Engineering staff will discuss options to maintain warmth and discontinue the use of hot water until the system is fully operational.

- <<Clinical Engineering department>> will monitor supported equipment that needed heated water or sterilization methods.

- Nursing personnel should check to see that patients are comfortable with the loss of heat and determine their needs.

- <<Engineering Department>> will notify the Incident Commander when the normal gas distribution has been restored.

- RECOVERY

Once the ALL CLEAR has been notified, the following should occur:

- Inspect boilers for operation.

- Verify air handlers and HVAC has been restored to normal operations.

- Check all equipment in the kitchen area to verify that all pilots are relit as needed.

- Make sure all boilers are switched back to natural gas and running.

- All equipment and/or supplies used during failure should be accounted for restocked or reordered depending on their status.