POLICY

It is the policy of <<Facility Name>> to test Line Isolation Monitors (LIMs) monthly unless they are the self-automated testing type in which case they shall be tested manually on an annual basis. LIM’s are also tested after repair or renovation to the electric distribution system.

Records are maintained in<<Engineering Office>> of required testing and associated repairs or modifications, containing the date, room, or area tested and the results.