# POLICY

<<Facility Name>> at least annually tests the quality of fuel serving diesel-powered generators by ASTM standards.

# PROCEDURE

Qualified vendors <<are, may be>> used to test fuel supply by current ASTM standards and NFPA 110-2010: 8.3.8. Documentation and results of testing will be maintained.